SOURCE CONTROL SPECIFICATION

Part Number: E.SLQ003

Only the item described in this source control to meet the specification listed herein is approved by SILQ.  A substitute item shall not be used without prior approval.

# Purpose

## This document provides the specification for the Waste Diaphragm Pump.

# Supplier

## Any supplier that sells/distributes the specified product.

# Manufacturer

## ARO Pumps, 2550 Somersville Rd, Suite#60, Antioch, CA 94509, Tel: (844) 529-5298.

# Reference Part Number(s)

## Manufacturer Part Name:  1" Non-Metallic Pro Series AODD Diaphragm Pump

## Manufacturer Part Number:  6661AJ-344-C

# Specification

## Maximum flow: 47 gallons per minute

## Air Inlet Ports: ¼ - 18 NPT

## Air inlet pressure: 20 – 120 psi

## Connection Size: 1”

## Diaphragm: PTFE / Santoprene

## Body material: Aluminum Center Body

## Diaphragm material: PTFE/Santoprene

## Ball material: PTFE

## Seat material: Polypropylene

# Attachments

## ARO-6661AX-6661BX 1-Inch Non-Metallic Diaphragm Pump Datasheet

## ARO-6661 Diaphragm Pump Manual