SOURCE CONTROL SPECIFICATION

Part Number: E.SLQ008

Only the item described in this source control to meet the specification listed herein is approved by SILQ.  A substitute item shall not be used without prior approval.

# Purpose

## This document provides the specification for the fume hood.

# Manufacturer

## Jessee Heating and Air Conditioning. 3025 Southgate Lane, Chico, CA 95928, Tel: (530) 891-4926.

# Specification

## Description: 10’ x 10’ Fume Hood

## Fume Hood dimensions: 10’ x 10’, 10’2” from floor, 14” diameter exhaust outlet

## Material: Galvanized Steel

## Flow control: Johnson Controls Baffled Flow Control (Model no: XPM04060)

### Flow rate: Minimum 350 CFM

# Attachments

## None