SOURCE CONTROL SPECIFICATION

Part Number: E.SLQ010

Only the item described in this source control to meet the specification listed herein is approved by SILQ.  A substitute item shall not be used without prior approval.

# Purpose

## This document provides the specification for the floor scale for the Concentrate Reactor.

# Supplier

## Selleton Scales LLC, www.selletonscales.com, 25395 Rye Canyon Rd., Santa Clarita, CA 91355, Tel: (844) 735-5386.

# Manufacturer

## Optima Scale, 9030 Bridgeport Place, Rancho Cucamonga, CA 91730, Tel: (800) 360-9619.

# Reference Part Number(s)

## Manufacturer Part Name:  OPTIMA OP-916 NTEP Certified, Legal For trade Floor Scale

## Manufacturer Part Number:  OPTIMA-OP916 NTEP

# Specification

## Description: Industrial Floor Scale

## Weight capacity: 1000 lb

## Accuracy: 0.2 lb

## Dimensions (scale platform): 36” x 36”

## Material: Painted steel

## Indicator: OP-900 NTEP indicator

## Power supply: AC adapter, 9Vdc (included)

# Attachments

## OP-900 Series Indicator User’s Manual