SOURCE CONTROL SPECIFICATION

Part Number: E.SLQ012

Only the item described in this source control to meet the specification listed herein is approved by SILQ.  A substitute item shall not be used without prior approval.

# Purpose

## This document provides the specification for the floor scale for the Suspension.

# Supplier

## Global Industrial, 11 Harbor Park Dr., Port Washington, NY 11050, Tel: (888) 978-7759.

# Manufacturer

## Global Industrial, 11 Harbor Park Dr., Port Washington, NY 11050, Tel: (888) 978-7759.

# Reference Part Number(s)

## Manufacturer Part Name:  Drum Scale with LCD Indicator, 1,000 lb x 0.5 lb

## Manufacturer Part Number:  318506

# Specification

## Weight capacity: 1000 lb

## Accuracy: 0.5 lb

## Dimensions (scale platform L x W): 36-15/16” x 34-7/8”

## Material: Steel

## Display: LCD

## Power supply: AC adapter, 9Vdc/600mA, with central positive (included)

# Attachments

## 318506 Operation Manual