SOURCE CONTROL SPECIFICATION

Part Number: E.SLQ013

Only the item described in this source control to meet the specification listed herein is approved by SILQ.  A substitute item shall not be used without prior approval.

# Purpose

## This document provides the specification for the weighing scale.

# Manufacturer

## Mettler Toledo, 1900 Polaris Parkway, Columbus, OH 43240, Tel: (800) 638-8537.

# Reference Part Number(s)

## Manufacturer Part Name:  AB-S Analytical Balance

## Manufacturer Part Number:  AB54-S

# Specification

## Description: Analytical Balance

## Weight capacity: 51 g

## Readability: 0.1 mg

## Dimensions (W x D x H): 245 mm x 321mm x 344 mm

## Weighing pan diameter: 80 mm

## Power supply: AC adapter, 9.5 – 20 Vdc

# Attachments

## AB-S Operating Instructions