SOURCE CONTROL SPECIFICATION

Part Number: E.SLQ015

Only the item described in this source control to meet the specification listed herein is approved by SILQ.  A substitute item shall not be used without prior approval.

# Purpose

## This document provides the specification for Jenway 7205 UV/Visible Spectrophotometer.

# Supplier

## Cole Parmer, 625 East Bunker Ct Vernon Hills, IL 60061, Phone number: 800-323-4340, website: www.coleparmer.com

# Manufacturer

## Jenway, 625 East Bunker Ct Vernon Hills, IL 60061, Phone number: 800-323-4340, website: www.jenway.com

# Reference Part Number(s)

## Manufacturer Part Name:  Jenway 7205 UV/Visible 72 Series Diode Array Scanning Spectrophotometer

## Manufacturer Model Number:  7205

## Supplier Item Number: EW-83056-02

# Specification

## Description: Scanning spectrometer using diode array technology covering a wavelength range of 198 to 800nm with a spectral bandwidth of 5mm.

## Wavelength range: 198 – 800 nm

## Wavelength accuracy: +/- 2 nm

## Wavelength repeatability: +/- 2 nm

## Spectral bandwidth: 5 mm

## Measurement time: 7 to 9999 seconds

## Light source: Xenon lamp

## Size (W x D x H): 212 x 422 x 120 mm

## Weight: 2.8 kg

## Supply voltage: 100-240VAC at 50-60Hz

# Attachments

## Jenway 7200 Operating Manual

## Jenway 7200 7205 Product Brochure