SOURCE CONTROL SPECIFICATION

Part Number: E.SLQ016

Only the item described in this source control to meet the specification listed herein is approved by SILQ.  A substitute item shall not be used without prior approval.

# Purpose

## This document provides the specification for Labconco FreeZone 2.5 Liter Benchtop Freeze Dry System.

# Supplier

## Labconco Corporation, 8811 Prospect Avenue, Kansas City, MO 64132. Phone: 816 333 8811. Email: webmaster@labconco.com. Website: https://www.labconco.com/

# Manufacturer

## Labconco Corporation, 8811 Prospect Avenue, Kansas City, MO 64132. Phone: 816 333 8811. Email: webmaster@labconco.com. Website: https://www.labconco.com/

# Reference Part Number(s)

## Manufacturer Part Name: FreeZone® Legacy 2.5 Liter Benchtop Freeze Dry System

## Manufacturer Model Number:  7670520

# Specification

## Description: Freeze dryer with LCD display and collector capacity of 2.5 liters, suitable for lyophilizing aqueous samples.

## Collector Capacity: 2.5 Liters

## Refrigeration Temperature: -50oC

## Size (W x D x H): 14.5” x 19.2” x 16.9”

## Weight: 120 lbs

## Supply voltage: 115 V (60Hz)

# Attachments

## Labconco FreeZone Legacy 2.5 Liter Freeze Dry Systems User Manual