SOURCE CONTROL SPECIFICATION

Part Number: S.SLQ001

Only the item described in this source control to meet the specification listed herein is approved by SILQ.  A substitute item shall not be used without prior approval.

# Purpose

## This document provides the specification for High Purity Water (S.SLQ001).

# Supplier

## Pre-treated water is provided by the City of Chico and is subjected to purification through the water purification system. See Section 6 for description of the equipment used to purify city water into high purity water.

# Manufacturer

## N/A

# Reference Part Number(s)

## N/A

# Specification

## Description: High Purity Water

## High purity water attributes:

| ## Contaminant | ## Units | ## Value |
| --- | --- | --- |
| ## Iron | ## µg/L | ## <60 |
| ## Zinc | ## µg/L | ## <40 |
| ## Total Dissolved Solids (TDS) | ## mg/L | ## <40 |
| ## Total Organic Carbon (TOC) | ## ppm | ## <1.2 |

# Equipment used

## Deionized water is produced in-house using a commercially available water purification system.

## Water purification system specification: See SP-E.SLQ001

# Attachments

## None