SOURCE CONTROL SPECIFICATION

Part Number: S.SLQ002

Only the item described in this source control to meet the specification listed herein is approved by SILQ.  A substitute item shall not be used without prior approval.

# Purpose

## This document provides the specification for the 50 mL centrifuge tube (S.SLQ002).

# Supplier

## VWR International, 3850 North Wilke Rd., Suite #300, Arlington Heights IL, 60004, Phone number: 847-463-1233, Email: USA_Global_Exports@vwr.com, website: us.vwr.com/store/

# Manufacturer

## VWR International, 3850 North Wilke Rd., Suite #300, Arlington Heights IL, 60004, Phone number: 847-463-1233, Email: USA_Global_Exports@vwr.com, website: us.vwr.com/store/

# Reference Part Number(s)

## Manufacturer part description: 50mL High Performance Centrifuge Tubes with Flat Caps, Sterilized

## Manufacturer part number: 89039-656

# General Information

## Handling:  Avoid stacking heavy items on tubes.

## Storage: Store inside at ambient conditions.

# Specification

## Materials Specification: Polypropylene

## Capacity: 50 mL

## Tube color: Clear

## Cap shape: Flat

## Sterilization: Yes

## Packaging configuration: 50/bag, 50 bags/CS

# Certificates

## A Certificate of Conformance (CoC) from the manufacturer is required for each batch/lot number of product.

# Receiving Inspection

## Review the manufacturer CoC and packing slip and verify order documentation for quantity and part number match.

# Attachments

## Attachment 1: TDS Centrifuge Tube High Performance and Ultra High Performance VWR