SOURCE CONTROL SPECIFICATION

Part Number: S.SLQ004

Only the item described in this source control to meet the specification listed herein is approved by SILQ.  A substitute item shall not be used without prior approval.

# Purpose

## This document provides the specification for the 10 mL syringe (S.SLQ004).

# Supplier

## Fisher Scientific, 3850 North Wilke Rd., Suite #300, Arlington Heights IL, 60004, Phone number: 800-766-7000, website: fishersci.com /

# Manufacturer

## Fisher Scientific, 3850 North Wilke Rd., Suite #300, Arlington Heights IL, 60004, Phone number: 800-766-7000, website: fishersci.com/

# Reference Part Number(s)

## Manufacturer part description: FisherbrandTM Sterile Syringes for Single Use

## Manufacturer part number: 14-955-459

# General Information

## Handling:  Avoid stacking heavy items on syringes.

## Storage: Syringes should be stored in relative humidity less than 80%, non-corrosive gases, cool, dry and well-ventilated room.

# Specification

## Capacity: 10 mL

## Diameter Inner: 14.85 mm

## Sterility: Sterile (Gamma)

## Termination: Luer lock

## Sterilization: Yes

## Packaging configuration: 100/pack

# Certificates

## A Certificate of Conformance (CoC) from the manufacturer is required for each batch/lot number of product.

# Receiving Inspection

## Review the manufacturer CoC and packing slip and verify order documentation for quantity and part number match.

# Attachments

## None