SOURCE CONTROL SPECIFICATION

Part Number: S.SLQ005

Only the item described in this source control to meet the specification listed herein is approved by SILQ.  A substitute item shall not be used without prior approval.

# Purpose

## This document provides the specification for the pH Strip (S.SLQ005).

# Supplier

## VWR International, 3850 North Wilke Rd., Suite #300, Arlington Heights IL, 60004, Phone number: 847-463-1233, Email: USA_Global_Exports@vwr.com, website: us.vwr.com/store/

# Manufacturer

## VWR International, 3850 North Wilke Rd., Suite #300, Arlington Heights IL, 60004, Phone number: 847-463-1233, Email: USA_Global_Exports@vwr.com, website: us.vwr.com/store/

# Reference Part Number(s)

## Manufacturer part description: pH Test Strips

## Manufacturer part number: BDH35309.606

# General Information

## Handling:  Avoid stacking heavy items on test strips.

## Storage: Store inside at ambient conditions.

# Specification

## pH graduation: 1.0

## pH range: 0 – 14.0

## Packaging configuration: Each, Pack of 500, Case of 54000

# Certificates

## A Certificate of Conformance (CoC) from the manufacturer is required for each batch/lot number of product.

# Receiving Inspection

## Review the manufacturer CoC and packing slip and verify order documentation for quantity and part number match.

# Attachments

## None