SOURCE CONTROL SPECIFICATION

Part Number: S.SLQ006

Only the item described in this source control to meet the specification listed herein is approved by SILQ.  A substitute item shall not be used without prior approval.

# Purpose

## This document provides the specification for the deuterium oxide (S.SLQ006).

# Supplier

## Fisher Scientific, 3850 North Wilke Rd., Suite #300, Arlington Heights IL, 60004, Phone number: 800-766-7000, website: fishersci.com

## Alternative: Any supplier that offers deuterium oxide that meets the specifications outlined in Section 6.

# Manufacturer

## Cambridge Isotope Laboratories, Inc., 3 Highwood Dr., Tewksbury, MA, 01876, Phone number: 800-322-1174, Email: cilsales@isotope.com, website: isotope.com

## Alternative: Any manufacturer that offers deuterium oxide that meets the specifications outlined in Section 6.

# Reference Part Number(s)

## Manufacturer part description: Deuterium Oxide (D, 99.9%)

## Manufacturer part number: DLM-4-10 (10 gallon), DLM-4-25 (25 gallon, DLM-4-50 (50 gallon)

## Fisher Scientific part number (25 gallon): NC9166072

# General Information

## Storage: Keep container tightly closed in a dry and well-ventilated place. Store at room temperature away from light and moisture.

# Specification

## Chemical formula: D2O

## Unlabeled CAS#: 7732-18-5

## Labeled CAS#: 7789-20-0

## Chemical Purity: > 99.5%

# Certificates

## A Certificate of Conformance (CoC) from the manufacturer is required for each batch/lot number of product.

# Receiving Inspection

## Review the manufacturer CoC and packing slip and verify order documentation for quantity and part number match.

# Attachments

## Safety Data Sheet, Deuterium Oxide