SOURCE CONTROL SPECIFICATION

Part Number: S.SLQ008

Only the item described in this source control to meet the specification listed herein is approved by SILQ.  A substitute item shall not be used without prior approval.

# Purpose

## This document provides the specification for the Crystal Violet (S.SLQ008).

# Supplier

## Fisher Scientific Company, One Reagent Lane, Fair Lawn, NJ 07410, Phone number: 201-796-7100, website: fishersci.com

# Manufacturer

## Fisher Scientific Company, One Reagent Lane, Fair Lawn, NJ 07410, Phone number: 201-796-7100, website: fishersci.com

# Reference Part Number(s)

## Manufacturer part description: Crystal Violet (Certified Biological Stain), Fisher Chemical™

## Manufacturer part number: C581

# General Information

## Handling:  Wear personal protective equipment/face protection. Ensure adequate ventilation. Avoid dust formation. Do not get in eyes, on skin, or on clothing. Avoid ingestion and inhalation.

## Storage: Keep containers tightly closed in a dry, cool and well-ventilated place. Protect from direct sunlight, incompatible materials, strong oxidizing agents, strong acids, strong reducing agents.

# Specification

## Component: C.I Basic violet 1

## CAS No: 548-62-9

## Weight %: 100%

## Quantity: 25g or 100g

# Certificates

## A Certificate of Conformance (CoC) from the manufacturer is required for each batch/lot number of product.

# Receiving Inspection

## Review the manufacturer CoC and packing slip and verify order documentation for quantity and part number match.

# Attachments

## Safety Data Sheet, Crystal Violet