SOURCE CONTROL SPECIFICATION

Part Number: S.SLQ009

Only the item described in this source control to meet the specification listed herein is approved by SILQ.  A substitute item shall not be used without prior approval.

# Purpose

## This document provides the specification for the Acetic Acid (S.SLQ009).

# Supplier

## Fisher Scientific Company, One Reagent Lane, Fair Lawn, NJ 07410, Phone number: 201-796-7100, website: fishersci.com

# Manufacturer

## Fisher Scientific Company, One Reagent Lane, Fair Lawn, NJ 07410, Phone number: 201-796-7100, website: fishersci.com

# Reference Part Number(s)

## Manufacturer part description: Acetic Acid, Glacial

## Manufacturer part number: A38-212

# General Information

## Handling:  Do not get in eyes, on skin, or on clothing. Wear personal protective equipment/face protection. Use only under a chemical fume hood. Do not breathe mist/vapors/spray. Do not ingest. If swallowed then seek immediate medical assistance.

## Storage: Corrosives area. Keep away from heat, sparks and flame. Keep containers tightly closed in a dry, cool and well-ventilated place. Incompatible Materials. Strong oxidizing agents.

# Specification

## Component: Acetic acid

## CAS No: 64-19-7

# Certificates

## A Certificate of Conformance (CoC) from the manufacturer is required for each batch/lot number of product.

# Receiving Inspection

## Review the packing slip and verify order documentation for quantity and part number match.

# Attachments

## Safety Data Sheet, Acetic Acid