SOURCE CONTROL SPECIFICATION

Part Number: S.SLQ010

Only the item described in this source control to meet the specification listed herein is approved by SILQ.  A substitute item shall not be used without prior approval.

# Purpose

## This document provides the specification for the Glass Test Tubes (S.SLQ010).

# Supplier

## TG Scientific Glass Fabrication Inc. 23041 La Cadena Dr, Laguna Hills, CA 92653. Phone number: 949-837-8785, website: tgsciglass.com, email: email@tgsciglass.com

# Manufacturer

## TG Scientific Glass Fabrication Inc. 23041 La Cadena Dr, Laguna Hills, CA 92653. Phone number: 949-837-8785, website: tgsciglass.com, email: email@tgsciglass.com

# Reference Part Number(s)

## Manufacturer part description: Glass Test Tubes

## Manufacturer part number: N/A, custom part

# General Information

## Storage: Avoid stacking heavy components on top of glass test tubes

# Specification

## Length: 42cm

## Inner Diameter: 10mm

## Outer Diameter: 12mm

## Material: Glass

# Certificates

## A Certificate of Conformance (CoC) from the manufacturer is not required for each batch/lot number of product.

# Receiving Inspection

## Review the packing slip and verify order documentation for quantity and part number match.

# Attachments

## None