SOURCE CONTROL SPECIFICATION

Part Number: S.SLQ011

Only the item described in this source control to meet the specification listed herein is approved by SILQ.  A substitute item shall not be used without prior approval.

# Purpose

## This document provides the specification for the UV Cuvette (S.SLQ011).

# Supplier

## BRANDTECH Scientific, Inc. 11 Bokum Rd, Essex Connecticut, 06426. Phone number : 888-522-2726

# Manufacturer

## BRANDTECH Scientific, Inc. 11 Bokum Rd, Essex Connecticut, 06426. Phone number : 888-522-2726

# Reference Part Number(s)

## Manufacturer part description: UV-Cuvette, macro

## Manufacturer part number: 759170

# General Information

## Storage: N/A

# Specification

## Length: 45mm

## Width: 12.5mm

## Material: UV Polymer

# Certificates

## A Certificate of Conformance (CoC) from the manufacturer is not required for each batch/lot number of product.

# Receiving Inspection

## Review the packing slip and verify order documentation for quantity and part number match.

# Attachments

## UV Cuvette data sheet