Shipping

Standard Operating Procedure

# Purpose

## This procedure documents the guidelines for shipping product from SILQ’s manufacturing facility.

# Scope

## This procedure applies to SILQ personnel involved shipping product from SILQ’s manufacturing facility in Chico, CA.

## Shipment of finished devices is performed by SILQ’s contract manufacturing organization in accordance with the CMO’s internal procedures. Shipments of finished devices are authorized by SILQ in accordance with QM.SLQ036 Sales Order.

# Documents

## Reference Documents

### QM.SLQ001		Document Control SOP

### QM.SLQ036		Sales Order SOP

### ISO 13485:2016 	International Standards Organization – Medical Devices – Quality Management Systems (section 7.2 – Customer-related processes)

## Appendices / Associated Forms / Templates

### FM1-QM.SLQ046	Shipping Request Form

### TMP1-QM.SLQ046	Template, Packing List

# Definitions

## Abbreviations / Acronyms

### CMO: Contract Manufacturing Organization

### COA: Certificate of Analysis

### SOP: Standard Operating Procedure

## General Definitions

### Component: any material, substance, piece, part, software, firmware, labeling, or assembly, which is intended to be included in the finished, packaged, and labeled device.

### Lot or Batch Number:  A unique and distinctive combination of letters or numbers, or both assigned to a production lot or batch of components, materials, or final product for traceability purposes.

### Manufacturing Material:  Any material or substance used in or to facilitate in the manufacturing process: a concomitant constituent, or byproduct constituent produced during the manufacturing process; which is present in or on the final product as a residue or impurity not by design or intent of the manufacturer.

### Product:  components, manufacturing materials, in-process devices, finished devices, and returned finished devices.

# Responsibilities

## Shipping department shall be responsible for compliance with this procedure.

## Operations management shall approve shipping requests.

# General Requirements

## Shipment of finished devices for commercial distribution shall only be made to authorized markets.

## All shipments of product from SILQ facilities shall include a packing list. A suggested template is provided in TMP1-QM.SLQ046.

## All shipments shall be tracked with the Shipping log in accordance with Section 8.

## Shipping couriers and methods shall be at the discretion of the originator’s preference. If there is no preference is indicated, the Shipping personnel will determine the shipping courier and method.

# Procedure: Shipping Product from SILQ Facilities

## Initiate shipping request

### The originator shall initiate a shipping request by requesting the next Shipping Request number from the Shipping department and completing FM1-QM.SLQ046 Shipping Request Form. The following information, at a minimum, shall be completed on the shipping request:

#### Shipping Request number

#### Ship To contact name, company, address, telephone number

#### Product part number and revision

#### Product description

#### Product lot number(s), if applicable

#### Quantity

#### Date requested

#### Target delivery date

### The originator shall submit the completed shipping request form to the Operations management for approval.

### The approved shipping request is forwarded to Shipping personnel.

## Shipping product

### Shipping personnel shall review the shipping request for accuracy. Any discrepancies shall be resolved with the originator and documented appropriately on the shipping request.

### Shipping personnel shall prepare the packing list using TMP1-QM.SLQ046 Packing List Template. The following information, at a minimum, shall be completed on the packing list:

#### Ship To contact name, company, address, telephone number

#### Product part number

#### Product lot number(s), if applicable

#### Quantity

#### Purchase order number, if applicable

### If applicable, include a copy of the Certificate of Analysis for the requested product/batch with the packing list.

### Shipping personnel shall package the product in an appropriate manner to prevent damage to the product packaging/container. The completed packing list and, if applicable, CoA shall be included in the packaging. A copy of the packing list and CoA shall be attached to the shipping request (per Section 7.2.7).

### Shipping personnel shall prepare a shipping label in accordance with the requested shipping method and requirements specified on the shipping request.

### Shipping personnel shall affix the shipping label to the packaged product and arrange for the package to be picked up by the shipping courier.

### Once shipped, the Shipping personnel shall initial and date the shipping request indicating the shipment was executed. A copy of the packing list and CoA shall be attached to the shipping request.

## Shipping personnel shall update the Shipping log with the new shipment.

# Procedure: Shipping Log

## Shipping department shall create and maintain a Shipping Log containing the following minimum information:

### Shipping Request #

### Date Requested

### Part # and Revision,

### Part Description

### Quantity

### Product lot number(s), if applicable

### Ship to contact name, company, address, telephone

### Target Delivery Date

### Requested By

### Date Shipped.

## The Shipping Request number schema will be SR-YYYY-XXX, current year followed by sequential number.

## The Shipping Log shall be archived on a secure network server.

# Shipping Records

## All shipping requests and applicable documentation are filed and maintained by Shipping personnel in the Shipping drawer of FileHold as a Quality record in accordance with record retention policies defined in QM.SLQ001, Document Control SOP.

### Records are to be scanned and imported into FileHold and filed within appropriate Shipping folder.