Installation Qualification,

Pneumatic Drum Stirrer, ST-009

Test Report

# Executive Summary

| ## Status: | ## PASS |
| --- | --- |

## Testing was conducted to ensure the pneumatic drum stirrer (McMaster-Carr 35005K64) was installed appropriately in accordance with manufacturer’s specification. This report documents the results of the equipment installation qualification for the pneumatic drum stirrer.

## Installation qualification performed met the respective acceptance criteria for the operation of the pneumatic drum stirrer.

# Deviations

## No deviations occurred during the execution of the test protocol (Document #VV.013).

# Results

## Installation qualification on the McMaster-Carr 35005K64 (Equipment ID #ST-009, S/N V10708301) was successfully completed in accordance with the protocol VV.SLQ013.

## The required documentation was found in the equipment file:

### Preventive maintenance schedule (See Attachment 2)

## The required utilities were verified to meet acceptance criteria:

### Air is available to power the pneumatic drum stirrer which meets the required power input specification.

### No damage to power source cable was observed.

## The pneumatic drum stirrer was powered on and verified to be operational.

# Conclusions

## All required documentation and utilities for the 35005K64 pneumatic drum stirrer have been verified to meet manufacturer’s specification, and the equipment has been verified to be operational.

## The 35005K64 pneumatic drum stirrer (Equipment ID # ST-009) has been installed properly in accordance with manufacturer’s specification.

# Attachments

## Attachment 1: Installation Qualification datasheet

## Attachment 2: PM Requirements