# Design Project Scope

| Project or DHF Designation: | SilqQMS EDMS Transition DC.SLQ002 |
| --- | --- |
| Device Name/Description: | SilqQMS Electronic Document Management System (EDMS): A custom-developed, web-based application used to store, organize, retrieve, and lifecycle-manage controlled QMS documents and records in support of SILQ's paper-based quality management system. This project covers the validation of SilqQMS and the transition of QMS document operations from the FileHold EDMS to SilqQMS. |
| Project Purpose: | Development of internal product design Change / Update to existing product design Corrective Action Other: Validation of QMS software (per QM.SLQ032) and controlled platform transition from FileHold to SilqQMS EDMS |
| Project Endpoint: | Commercial Product Clinical Product Validated product design Design Output Only |
| Applicable Regulatory Markets: | US E.U. Canada Other OUS countries: |
| Reason for Project Initiation: | SILQ's current Electronic Document Management System, FileHold is being replaced by SilqQMS, a custom-developed web application. The transition is driven by the need for a modernized EDMS tailored to SILQ's document control workflows and ensure the Silq EDMS is compliant with updates to regulatory requirements since the previous EDMS validation performed in 2022. The project will entail execution of compliance activities to satisfy requirements for validated QMS software prior to use per ISO 13485:2016 clause 4.1.6, 21 CFR Part 820 Quality Management System Regulation (QMSR), and QM.SLQ032. After validation and verification requirements are met, FileHold specific Silq procedures will be updated to reflect SilqQMS specific or platform independent procedures. |
| External Partner Constraints: | The only external dependency is the hosting provider. There is no external software vendor (SilqQMS is custom-developed) and no subcontractor performing validation or transition work. |
| Regulatory Constraints: | ISO 13485:2016 clause 4.1.6 ¦ Validation of QMS software ISO 13485:2016 clauses 4.2.4 and 4.2.5 ¦ Control of documents and records 21 CFR Part 820 (QMSR, as revised) ¦ Quality Management System Regulation 21 CFR Part 11 ¦ Electronic Records and Electronic Signatures (limited applicability, SilqQMS does not implement electronic signatures) QM.SLQ032 ¦ Software Validation SOP QM.SLQ001 ¦ Document Control SOP |
| Additional Risk / Hazard Considerations: | Risk category is Minor (per risk analysis in SW.SLQ008). SilqQMS is a document management system and does not directly control manufacturing processes, medical devices, or clinical decisions. Failure of the EDMS cannot result in direct or indirect harm to patients. |
| Additional Project Constraints: | SilqQMS validation (SW.SLQ007–012) must be completed before initiating QMS procedure revisions (DC.SLQ001 Phases 1A–4). All procedure revisions require DCO approval per QM.SLQ001. SilqQMS does not implement electronic signatures or in-system approval workflows; DCO approvals to be performed externally per QM.SLQ001 |
| Conclusion: | This project encompasses: the software validation of SilqQMS per QM.SLQ032, documented in SW.SLQ007 through SW.SLQ012, and the controlled transition of SILQ's QMS document operations from FileHold to SilqQMS, documented in DC.SLQ002. The project requires the following design control phases: Project Planning, Design Inputs, Design Verification, and Design Validation. Upon completion, SilqQMS will be SILQ's validated EDMS for controlled document storage, revision tracking, and QMS record management. All QM procedures will reference SilqQMS operations, and all affected personnel will be trained on the revised procedures and the SilqQMS system. |

Applicable Design Control Phases

| DC Phase / Process | Applicable | Rationale (provide if ‘No’ checked or omission required) |
| --- | --- | --- |
| Project Planning | Yes No: |  |
| Design Inputs (+ User Needs) | Yes No: |  |
| Design Outputs | Yes No: | SilqQMS is a custom-developed software application, not a manufactured device. There are no design outputs |
| Risk Management | Yes No: |  |
| Design Verification | Yes No: |  |
| Design Validation | Yes No: |  |
| Clinical | Yes No: | Not applicable |
| Design Transfer | Yes No: | SilqQMS is a custom-developed software application and is not intended to be transferred. |

| Approvals: |  |  |  |
| --- | --- | --- | --- |
| Printed Name | Department | Signature | Date |
| Verne Sharma | Executive Management |  |  |
| Brian McVerry | R&D/Engineering |  |  |
| Ethan Rao | Quality Assurance |  |  |
| Ethan Rao | Regulatory Affairs |  |  |
| Chris Turner | Manufacturing |  |  |