## Equipment Master List
Silq Equipment Master List
Equip ID | Equip Status | Equipment Description | Mfg | Model No. | Serial No. | Date Put In-Service | Location | CAL Interval | Date of Last CAL | CAL Due Date | PM Interval | Date of Last PM | PM Due Date | Comments
ST-001 | Active | Portable Exchange Deionizers (PEDI) System | Culligan | D-350-MB | N/A | 2022-09-12 | Mfg | N/A | N/A | N/A | As needed | N/A | N/A
ST-002 | Active | DI Water Tank Assembly, 750 gallons | Norwesco | VERT-750 | N/A | 2022-09-12 | Mfg | N/A | N/A | N/A | N/A | N/A | N/A
ST-003 | Active | Waste Tank Assembly, 500 gallons | Norwesco | CB-500-W/STD-NH | N/A | 2022-09-12 | Mfg | N/A | N/A | N/A | N/A | N/A | N/A
ST-004 | Active | Waste diaphragm pump | ARO | 6661AJ-344-C | N/A | 2022-09-12 | Mfg | N/A | N/A | N/A | Annual | 2024-12-11 | 2025-12-11
ST-005 | Active | Diafiltration System, KrosFlo KTF-2000 System | Repligen | KTF-2000 | 190603-001 | 2022-09-12 | Mfg | Every 4 years | 11/1/22 | 2026-11-01 | Every 4 years | 2022-11-01 | 2026-11-01
ST-006 | Active | Floor Scale, Concentrate Reactor | Optima Scale | OPTIMA-OP916 NTEP | 10C190611004 | 2022-09-12 | Mfg | Annual | 12/10/25 | 12/10/26 | N/A | N/A | N/A
ST-007 | Active | Floor Scale, Suspension | Global Industrial | 318506 | 318506-2108 | 2022-09-12 | Mfg | Annual | 12/10/25 | 12/10/26 | N/A | N/A | N/A
ST-008 | Active | Peristaltic Pump, Large Flow | U.S. Solid | M6-12L | 11006080100 | 2022-09-12 | Mfg | N/A | N/A | N/A | Annual | 2024-12-11 | 2025-12-11
ST-009 | Active | Pneumatic Drum Stirrer | McMaster-Carr | 35005K64 | V10708301 | 2022-09-12 | Mfg | N/A | N/A | N/A | Annual | 2024-12-11 | 2025-12-11
ST-010 | Active | Concentrate Reactor | SS Brewtech | BCT1BBL-01 | N/A | 2022-09-12 | Mfg | N/A | N/A | N/A | N/A | N/A | N/A
ST-011 | Active | Fume Hood | Johnson Controls | XPM04060 | N/A | 2022-09-12 | Mfg | Biennial | 12/13/24 | 12/13/26 | N/A | N/A | N/A
ST-012 | Active | Weighing Scale | Mettler Toledo | AB54-S | 1125311515 | 2022-09-27 | Mfg | Biennial | 8/2/24 | 2026-08-02 | N/A | N/A | N/A
ST-013 | Inactive | Temperature and Humidity Monitor | Traceable | 90080-06 | 221873975 | 2022-12-19 | Mfg | Biennial | 11/10/22 | 2024-11-10 | N/A | N/A | N/A | Tagged out 11 Dec 2024
ST-014 | Active | Spectrophotometer, Jenway 7205 UV/Visible 72 Series Diode Array Scanning | Jenway | 7205 | 85652 | 2023-11-21 | Mfg | N/A | N/A | N/A | N/A | N/A | N/A
ST-015 | Active | VIS Photometric Accuracy Calibration Standard (400-700nm) | FireFly Sci | HF-0.2 | 886 | 2023-11-21 | Mfg | Biennial | 10/30/23 | 2025-10-30 | N/A | N/A | N/A
ST-016 | Active | Freeze Dry System, 2.5 Liter | Labconco Corp. | 7670520 | 200594092 | 2024-11-26 | Mfg | N/A | N/A | N/A | Annual | 2024-11-26 | 2025-11-26
ST-017 | Active | Temperature and Humidity Monitor | Traceable | 90080-06 | 240721382 | 2024-12-13 | Mfg | Biennial | 9/25/24 | 2026-09-25 | N/A | N/A | N/A