# Document Change Order (DCO)

| DCO #: | 023 | Change Priority: |  | High Medium Low |  |
| --- | --- | --- | --- | --- | --- |
| DCO Type: | Permanent DCO Permanent DCO - Administrative Temporary Deviation Order – Duration: |  |  |  |  |
| Document Category: | Policy Standard Operating Procedure (SOP) Design Document Work Instruction (WI) Technical Spec Labeling |  |  |  |  |
| Req. Effective Date: | R + 0 |  | Originator: |  | Bryan Wong |

| Document Title | Document / Part Number | Current Revision | Description of / Reason for Change |
| --- | --- | --- | --- |
| Specification - Instructions for Use, ClearTract Catheter | SP-L.SLQ002 | New | Description of change: Initial release |
|  |  |  | Reason for change: Initial release of the IFU for the 2-way ClearTract 16 Fr x 10 ml Catheter (P/N 21600101003). As part of product development, the IFU was originated by Pathway in their document control system under part number SLQ-4006. As part of the Design History File transfer, the IFU is being released through Silq’s document control system. |
| Specification - Artwork, Label, 2-way ClearTract 16 Fr x 10 ml Catheter, Pouch and Box | SP-L.SLQ003 | New | Description of change: Initial release |
|  |  |  | Reason for change: Initial release of the pouch and box label for the 2-way ClearTract 16 Fr x 10 ml Catheter (P/N 21600101003). As part of product development, the product label was originated by Pathway in their document control system under part number SLQ-4000. As part of the Design History File transfer, the product label is being released through Silq’s document control system. |
| Specification - Artwork, Label, 2-way ClearTract 16 Fr x 10 ml Catheter, Shipper Box | SP-L.SLQ004 | New | Description of change: Initial release |
|  |  |  | Reason for change: Initial release of the shipper box label for the 2-way ClearTract 16 Fr x 10 ml Catheter (P/N 21600101003). As part of product development, the product label was originated by Pathway in their document control system under part number SLQ-4001. As part of the Design History File transfer, the product label is being released through Silq’s document control system. |

Additional Risk Assessment required?   Yes    No (Complete below section)

| Applicable Doc / Part No. | Risk Assessment activities (include doc numbers when applicable) |
| --- | --- |
| N/A | Risk assessment is not required for initial release of labeling specifications. |

Verification or Validation required?   Yes    No (Complete below section)

| Applicable Doc / Part No. | Corresponding V&V activities (include protocol numbers when applicable) |
| --- | --- |
| N/A | V&V is not required for initial release of labeling specifications. |

Training required?   Yes    No (Complete below section)

| Applicable Doc No. | Notification Type | Effectiveness Check? |
| --- | --- | --- |
| Training is not required for initial release of labeling specifications. | Read and Acknowledge only Interactive Training | Yes No |

Material disposition required?   Yes    No (Complete below section)

| Applicable Part No. | Disposition Requirements (Scrap, Use-as-Is, Rework) |  |  |  | Additional Info |
| --- | --- | --- | --- | --- | --- |
| Material disposition is not required for initial release of labeling specifications. | Stock Material: N/A | WIP: N/A | Finished Good: N/A | Field: N/A | N/A |

Potential Regulatory Impact?   Yes    No (Complete below section)

| Regulatory Assessment: | There is no regulatory impact for initial release of labeling specifications. |
| --- | --- |

| Approvals: |  |  |
| --- | --- | --- |
| Printed Name | Department | Signature/Date |
| Bryan Wong | QA/Originator | View sign-off sheet |
| Verne Sharma | Executive Management | View sign-off sheet |
| Brian McVerry | Manufacturing/ R&D/Engineering | View sign-off sheet |
| Sigi Caron | RA | View sign-off sheet |