# Document Change Order (DCO)

| DCO #: | 026 | Change Priority: |  | High Medium Low |  |
| --- | --- | --- | --- | --- | --- |
| DCO Type: | Permanent DCO Permanent DCO - Administrative Temporary Deviation Order – Duration: |  |  |  |  |
| Document Category: | Policy Standard Operating Procedure (SOP) Design Document Work Instruction (WI) Technical Spec Labeling |  |  |  |  |
| Req. Effective Date: | R + 0 |  | Originator: |  | Bryan Wong |

| Document Title | Document / Part Number | Current Revision | Description of / Reason for Change |
| --- | --- | --- | --- |
| Specification - Instructions for Use, ClearTract Catheter | SP-L.SLQ002 | A | Description of change: 1) Addition of Device Description 2) Update to Intended Use 3) Update to SILQ’s company address from Los Angeles CA to Sunny Isles Beach FL. 4) Replace “Manufactured for:” with ISO symbol for manufacturer |
|  |  |  | Reason for change: Update company address for accuracy. Changes were submitted to FDA and accepted in Special 510(k) K221625. The intended use is being updated in the IFU to match the intended use submitted in the Special 510(k). Add used globally recognized symbol for manufacturer. |
| Specification - Artwork, Label, 2-way ClearTract 16 Fr x 10 ml Catheter, Pouch | SP-L.SLQ003 | A | Description of change: 1) Update title to remove “and Box” 2) Update to SILQ’s company address from Los Angeles CA to Sunny Isles Beach FL. 3) Replace “Manufactured for:” with ISO symbol for manufacturer |
|  |  |  | Reason for change: Update company address for accuracy. Changes were submitted to FDA and accepted in Special 510(k) K221625. Creating a new part number for the Carton label and, therefore, update to the document/label description was required. Add used globally recognized symbol for manufacturer. |
| Specification - Artwork, Label, 2-way ClearTract 16 Fr x 10 ml Catheter, Shipper Box | SP-L.SLQ004 | A | Description of change: Update to SILQ’s company address from Los Angeles CA to Sunny Isles Beach FL. |
|  |  |  | Reason for change: Update company address for accuracy. Changes were submitted to FDA and accepted in Special 510(k) K221625. |
| Specification - Artwork, Label, 2-way ClearTract 16 Fr x 10 ml Catheter, Carton | SP-L.SLQ006 | New | Description of change: Initial release |
|  |  |  | Reason for change: Initial release of the carton label for the 2-way ClearTract 16 Fr x 10 ml Catheter (P/N 21600101003). As part of product development, the product label was originated by Pathway in their document control system under part number SLQ-4000 (sheet 2). A separate part number is created for this label. This label is associated with Pathway part number SLQ-LB-4002. |

Additional Risk Assessment required?   Yes    No (Complete below section)

| Applicable Doc / Part No. | Risk Assessment activities (include doc numbers when applicable) |
| --- | --- |
| N/A | Risk assessment is not required for updates to labeling specifications or for initial release of labeling specification. |

Verification or Validation required?   Yes    No (Complete below section)

| Applicable Doc / Part No. | Corresponding V&V activities (include protocol numbers when applicable) |
| --- | --- |
| N/A | V&V is not required for updates to labeling specifications or for initial release of labeling specification. |

Training required?   Yes    No (Complete below section)

| Applicable Doc No. | Notification Type | Effectiveness Check? |
| --- | --- | --- |
| Training is not required for updates to labeling specifications or for initial release of labeling specification. | Read and Acknowledge only Interactive Training | Yes No |

Material disposition required?   Yes    No (Complete below section)

| Applicable Part No. | Disposition Requirements (Scrap, Use-as-Is, Rework) |  |  |  | Additional Info |
| --- | --- | --- | --- | --- | --- |
| Material disposition is not required for updates to labeling specifications or for initial release of labeling specification. | Stock Material: N/A | WIP: N/A | Finished Good: N/A | Field: N/A | N/A |

Potential Regulatory Impact?   Yes    No (Complete below section)

| Regulatory Assessment: | There is no regulatory impact for updates to labeling specifications or for initial release of labeling specification. |
| --- | --- |

| Approvals: |  |  |
| --- | --- | --- |
| Printed Name | Department | Signature/Date |
| Bryan Wong | QA/Originator | View sign-off sheet |
| Verne Sharma | Executive Management | View sign-off sheet |
| Brian McVerry | Manufacturing/ R&D/Engineering | View sign-off sheet |
| Sigi Caron | RA | View sign-off sheet |