# Document Change Order (DCO)

| DCO #: | 035 | Change Priority: |  | High Medium Low |  |
| --- | --- | --- | --- | --- | --- |
| DCO Type: | Permanent DCO Permanent DCO - Administrative Temporary Deviation Order – Duration: |  |  |  |  |
| Document Category: | Policy Standard Operating Procedure (SOP) Design Document Work Instruction (WI) Technical Spec Labeling |  |  |  |  |
| Req. Effective Date: | R + 0 |  | Originator: |  | Bryan Wong |

| Document Title | Document / Part Number | Current Revision | Description of / Reason for Change |
| --- | --- | --- | --- |
| Source Control Specification, High Purity Water | SP-S.SLQ001 | New | Description of change: Initial release |
|  |  |  | Reason for change: Initial release |
| Source Control Specification, Bleach | SP-S.SLQ007 | New | Description of change: Initial release |
|  |  |  | Reason for change: Initial release |
| Source Control Specification, Fume Hood | SP-E.SLQ008 | A | Description of change: Add model number of Johnson Controls flow controller/expansion module |
|  |  |  | Reason for change: The model number of the flow controller was not included in the initial release of the specification. Including the model number for completeness. |
| Specification, Suspension | SP-C.SLQ001 | A | Description of change: Remove specific gravity specification |
|  |  |  | Reason for change: Specific gravity of the suspension is not a critical attribute of the suspension and therefore does not require to be evaluated for product release. |

Additional Risk Assessment required?   Yes    No (Complete below section)

| Applicable Doc / Part No. | Risk Assessment activities (include doc numbers when applicable) |
| --- | --- |
| N/A | Risk assessment is not required for initial release and updates to specifications. |

Verification or Validation required?   Yes    No (Complete below section)

| Applicable Doc / Part No. | Corresponding V&V activities (include protocol numbers when applicable) |
| --- | --- |
| N/A | V&V is not required for initial release and updates to specifications. |

Training required?   Yes    No (Complete below section)

| Applicable Doc No. | Notification Type | Effectiveness Check? |
| --- | --- | --- |
| Training is not required for initial release and updates to specifications. | Read and Acknowledge only Interactive Training | Yes No |

Material disposition required?   Yes    No (Complete below section)

| Applicable Part No. | Disposition Requirements (Scrap, Use-as-Is, Rework) |  |  |  | Additional Info |
| --- | --- | --- | --- | --- | --- |
| Material disposition is not required for initial release and updates to specifications. | Stock Material: N/A | WIP: N/A | Finished Good: N/A | Field: N/A | N/A |

Potential Regulatory Impact?   Yes    No (Complete below section)

| Regulatory Assessment: | There is no regulatory impact for initial release and updates to specifications. |
| --- | --- |

| Approvals: |  |  |
| --- | --- | --- |
| Printed Name | Department | Signature/Date |
| Bryan Wong | QA/Originator | View sign-off sheet |
| Brian McVerry | Manufacturing/ R&D/Engineering | View sign-off sheet |
| Sigi Caron | RA | View sign-off sheet |