# Document Change Order (DCO)

| DCO #: | 052 | Change Priority: |  | High Medium Low |  |
| --- | --- | --- | --- | --- | --- |
| DCO Type: | Permanent DCO Permanent DCO - Administrative Temporary Deviation Order – Duration: |  |  |  |  |
| Document Category: | Policy Standard Operating Procedure (SOP) Design Document Work Instruction (WI) Technical Spec Labeling |  |  |  |  |
| Req. Effective Date: | R + 0 |  | Originator: |  | Bryan Wong |

| Document Title | Document / Part Number | Current Revision | Description of / Reason for Change |
| --- | --- | --- | --- |
| Source Control Specification, Waste Diaphragm Pump | SP-E.SLQ003 | A | Description of change: 1) Add range for inlet air pressure 2) Add material specifications 3) Include manual |
|  |  |  | Reason for change: 1) Include operating range for inlet air pressure 2) Add material specifications of the different components of pump assembly 3) Include manual for details on how to operate pump |
| Source Control Specification, Floor Scale, Concentrate Reactor | SP-E.SLQ010 | A | Description of change: 1) Add indicator type/spec 2) Add power supply spec 3) Include manual |
|  |  |  | Reason for change: 1) Include the type of indicator used with the scale 2) Specify how the scale is powered 3) Include manual for details on how to operate floor scale |
| Source Control Specification, Peristaltic Pump, Large Flow | SP-E.SLQ011 | A | Description of change: 1) Add power supply/consumption spec 2) Include manual |
|  |  |  | Reason for change: 1) Specify how the pump is powered 2) Include manual for details on how to operate pump |
| Source Control Specification, Floor Scale, Suspension | SP-E.SLQ012 | A | Description of change: 1) Add power supply spec 2) Include manual |
|  |  |  | Reason for change: 1) Specify how the floor scale is powered 2) Include manual for details on how to operate floor scale |
| Source Control Specification, Weighing Scale | SP-E.SLQ013 | A | Description of change: 1) Add power supply spec 2) Include manual |
|  |  |  | Reason for change: 1) Specify how the scale is powered 2) Include manual for details on how to operate scale |

Additional Risk Assessment required?   Yes    No (Complete below section)

| Applicable Doc / Part No. | Risk Assessment activities (include doc numbers when applicable) |
| --- | --- |
| N/A | Risk assessment is not required for update to equipment specifications. |

Verification or Validation required?   Yes    No (Complete below section)

| Applicable Doc / Part No. | Corresponding V&V activities (include protocol numbers when applicable) |
| --- | --- |
| N/A | V&V is not required for update to equipment specifications. |

Training required?   Yes    No (Complete below section)

| Applicable Doc No. | Notification Type | Effectiveness Check? |
| --- | --- | --- |
| Training is not required for update to equipment specifications. | Read and Acknowledge only Interactive Training | Yes No |

Material disposition required?   Yes    No (Complete below section)

| Applicable Part No. | Disposition Requirements (Scrap, Use-as-Is, Rework) |  |  |  | Additional Info |
| --- | --- | --- | --- | --- | --- |
| Material disposition is not required for equipment specifications. | Stock Material: N/A | WIP: N/A | Finished Good: N/A | Field: N/A | N/A |

Potential Regulatory Impact?   Yes    No (Complete below section)

| Regulatory Assessment: | There is no regulatory impact for update to equipment specifications. |
| --- | --- |

| Approvals: |  |  |
| --- | --- | --- |
| Printed Name | Department | Signature/Date |
| Bryan Wong | QA/Originator | View sign-off sheet |
| Brian McVerry | Manufacturing/ R&D/Engineering | View sign-off sheet |
| Sigi Caron | RA | View sign-off sheet |