Employee Training

Standard Operating Procedure

# Purpose

## The purpose of this standard operating procedure is to define the overall employee training process to ensure that all personnel performing activities affecting product quality of the quality system are adequately trained to perform their assigned tasks and responsibilities, and to define the system for documenting employee training.

## This procedure is structured to comply with FDA requirements for training contained in 21 CFR 820 and ISO 13485 requirements related to competency, awareness and training. This formal training system provides a process to:

### Determine the necessary training requirements for personnel performing work affecting product quality and/or the quality system,

### Provide training to satisfy these needs,

### Evaluate the effectiveness of the training,

### Ensure that personnel are aware of the relevance and importance of their activities and how they contribute to the achievement of the quality objectives,

### Maintain records of training.

# Scope

## This procedure applies to all SILQ regular and temporary employees.

## This procedure applies to contractors / consultants performing activities on behalf of the company that may affect product quality or the quality system of the company.

# Documents

## Reference Documents

### QM.SLQ001	Document Control SOP

### QM.SLQ014	Electronic Document System Work Instruction

### ISO 13485	International Standards Organization – Medical Devices – Quality Management Systems (section 6.2 Human Resources)

### 21 CFR 820	Quality System Regulation (820.25 – Personnel)

## Associated Forms

### FM1-QM.SLQ003	Employee Training Program Form

### FM2-QM.SLQ003	Employee Training Record Form

# Definitions

## Abbreviations / Acronyms

### DCO:  Document Change Order

### FDA:  United States Food and Drug Administration

### GDP:  Good Documentation Practices

### QA:  Quality Assurance

### QMS:  Quality Management System

### QSR:  FDA Quality System Regulation

### SOP:  Standard Operating Procedure

## General Definitions

### Base Training Requirement:  A requirement applicable to all company employees.

### Employee Training Program:  A completed document that identifies the employee specific training items to ensure each employee is trained and qualified to perform the responsibilities of their job.

### Employee Training Record:  A completed document that records the employee training activity, type of training, date of training, effectiveness evaluation performed (if applicable), employee signature and trainer signature (if applicable).

### FileHold:  Software based document management system used to electronically store controlled documents.

### Trainer:  An individual who has been assessed and approved by department management or another department Trainer to possess appropriate knowledge of subject matter and thereby is qualified to train employees.

### Training Coordinator:  An individual designated by management with the responsibility and authority for the processing, archival and retrieval of training documentation, maintenance of the training matrix and maintaining the employee training files.

# Responsibilities

## All employees are responsible for understanding and following this procedure.

## It is the responsibility of SILQ operations management to ensure that new employees (or existing employees with new / change responsibilities) have the appropriate initial qualifications for their position, identify the applicable employee training requirements, complete the employee training program form and ensure that training identified on the training program is completed.

## It is the responsibility of the employee’s department management to ensure that the employee receives the appropriate training.

## It is the responsibility of all employees to understand the contents of their training program, to participate in training when required, to document the completion of training in accordance with this procedure, to ensure they have been appropriately trained prior to performing a new activity and to work with their department management to ensure their training program record is up to date.

## Employees and/or their department management are responsible for transferring complete and accurate training records to the SILQ Training Coordinator.

## It is the responsibility of the SILQ Training Coordinator to maintain the training matrix to ensure that hard copy training plans and training records are complete, accurate, and archived in storage.

### The Training Coordinator is responsible for scanning and importing pdf of completed training records into appropriate employee training files within FileHold.

## Quality management is responsible for ensuring compliance with the employee training process and the retention of records by SILQ personnel and contractors / consultants.

# Procedure: Identification of Qualifications and Training Requirements

## All SILQ personnel and contractors / consultants are to be determined competent to perform their job based on appropriate education, experience, skills and training. Management and at least one other departmental representative conduct candidate interviews and complete reference checks as applicable. Documentation of the employee’s and contractor’s / consultant’s qualifications (e.g., resume) is filed in the respective employee file.

## Training requirements are established for all employees within the organization and contractors / consultants whose activities may affect product safety, product quality or the system quality.

## Upon initial hire, the department management in conjunction with the training coordinator (as appropriate) identifies the procedures required to perform the specific job and documents this on an employee specific training program (see Section 9).

## All employee training programs must include the following Base Requirements, which are considered fundamental to working at SILQ:

### Job description

### General Quality System Regulation (QSR) / Quality Management System (QMS) training

### SILQ Quality Policy

### Good Documentation Practices (GDP)

## Once completed, the training program is signed by both the employee and the department management. The signed record is forwarded to the Training Coordinator and scanned and imported into the employee training file within FileHold.

## The employee training program must be completed / signed by department management and the employee within 30 days of the employee start date.

## The department management is to periodically review the employee training programs for accuracy and to update when needed.

## Trainers will be individually identified and approved by department management and/or another trainer based on their qualifications and experience. Documentation of their certification will be captured on the employee training record (see Section 10).

### Document originators are considered qualified as trainers for associated document/process.

# Procedure: Training

## Documented training is required before an individual performs a procedure for which training is required. Individuals may perform job tasks prior to or during training if supervised by a trainer.

### In such cases, the trainer must countersign any associated quality records.

## New employees, inclusive of temporary employees and contractors/consultants (as applicable), must complete training per their training program within 60 days of start date.

### In addition, the requirements listed on the training program, new employee training is to include:

#### Overview of SILQ, products and services and how these relate to working in a regulated industry.

#### Inform the new employee of the relevance and importance of their activities and of any device defects or quality problems that may occur from the improper performance of their specific job duties.

## General QSR / QMS and SILQ Quality Policy training is to include:

### The underlying reasons for and incorporation of the QSR/Quality System.

### Making personnel aware that product quality is not solely the responsibility of management or any other single group. Quality is the responsibility of every employee – any employee can generate a quality problem through misunderstandings of their job requirements or negligence.

## Completion of training is to be documented on a Training Record (see Section 10 and FM2-QM.SLQ003).

### Sign off on training records may be done electronically in FileHold or manually.

## Training may be conducted in a variety of ways, which are categorized into two main types: Read and Acknowledge or Interactive.

### Read and Acknowledge training means personnel are allowed to perform self-directed document review of the applicable material and then complete a training record. No trainer signature is required on the training record.

### Interactive training requires personnel to interface with a trainer (e.g., one-on-one, group training). The trainer must sign the associated training record.

## The type of training required for first-time personnel is training to the requirements listed on their employee training program as specified on the employee training program (see Section 9). Subsequent training to document changes is dictated by the training requirements documented on the associated DCO.

## During interactive training, the trainer is to include the following (at a minimum):

### Provide a hard copy (or an electronic copy) of the associated document to the trainee(s).

#### If the training is a presentation (e.g., PowerPoint) a hardcopy (or an electronic copy) of the presentation material is to be attached to the associated training record(s).

### Inform the trainee(s) of the relevance and importance of their activities and how these relate to the objectives of the company’s quality management.

### To inform the trainee(s) of any device defects or quality problems that may occur from the improper performance of their specific job duties; as well as defects and errors they could expect to encounter on the job.

### Periodically ask the trainee(s) if any clarification is needed, if the training is progressing at an acceptable rate and if all material presented up to that point has been clearly understood by the trainee(s).

## During any type of training, the trainee is responsible for ensuring they understand the material and to ask for clarification when needed.

## Training may also be conducted (and documented) to documents not listed on an employee’s training program. This may be encountered when personnel need to perform a task/activity that is not part of their key job responsibilities. In this case, personnel must make sure they have completed training to the most current revision of the document prior to performing the task. This training may be self-directed document review (read and acknowledge).

## Personnel who are required to work temporarily under special environmental conditions must be appropriately trained or supervised by a trained individual.

## Effectiveness evaluations of the training will be conducted based on the complexity of the task/procedure and/or associated risk. The determination for effectiveness evaluations is made by the department management or DCO originator and is documented on employee training program or DCO form, respectively.

## Any external training attended will be documented upon return from the training. External training will be documented by completing an Employee Training Record Form (FM2-QM.SLQ003). A copy of the training materials or syllabus or summary of the training will be attached to the Employee Training Record. The Employee Training Record will be added to the employee’s training file. Hard copies are to be scanned and imported into employee’s training file within FileHold. Employees attending external training may be required by their management to train co-workers as well.

## Trainee should only sign their training record after fulfilling all training requirements listed on the training record (for example, after interactive training class is held, after reading new or updated documents, and/or after effectiveness check quiz is completed and passed).

# Procedure: Retraining

## Any time a controlled document is updated, the document administrator will determine from the DCO form if retraining is required; this information is provided to the training coordinator. The training coordinator notifies the affected employees if training is required and type of training prior to the employee performing tasks to the revised document.

## Retraining for general QSR/QMS will occur annually.

## Ad hoc retraining may be conducted (and documented) at any time either upon the request of the employee or as directed by SILQ management in response to an issue/action item.

# Procedure: Completing Employee Training Program Forms

## The employee’s supervisor is to complete the Employee Training Program Form (FM1-QM.SLQ003) for submission to the training coordinator.

## Supervisors must keep the employee’s training program form “up-to-date” as the employee responsibilities change and/or SILQ documented processes change, etc.

## The following are instructions to complete the form:

### Employee Number: Enter SILQ unique employee number associated with the employee. If the employee does not have an employee number (e.g., temporary employees, contractors/consultants) enter ‘N/A’.

### Employee Name: Enter employee’s full name, first name, then last name.

### Original Hire Date: Enter the date in which the employee began employment (or work in case of temporary employees, contractors/consultants) with SILQ.

#### Indicate employee status as: Regular, Temporary or Contractor/Consultant.

### Job Title: Enter the employee’s job title.

### Department: Enter the official department in which the employee is assigned. (Department Names are listed in QM.SLQ001, Document Control SOP Appendix 1).

### Supervisor: Enter employee’s supervisor’s full name, first name, then last name.

### Name/Title of Training Requirement: Enter the name or exact document title of the training requirement.

### Document Number: If this is a controlled document, enter the assigned unique document number. If there is no document number, enter ‘N/A’.

### Type of Training Required: Indicate the type of training required.

#### In determining what type of training is appropriate, the complexity of the document along with the trainee’s prior experience is to be considered. For example, an individual new to the industry would be required to have GDP training as ‘Interactive’. An individual who has been in Research and Development for years and has been responsible for new product development would be a good candidate for ‘Read and Acknowledge’ on the Design Control SOP.

### Effectiveness Evaluation: Indicate if an effectiveness evaluation is required for the initial training.

#### In determining what training effectiveness evaluation is appropriate, the complexity of the document along with the trainee’s prior experience is to be considered. For example, an individual new to the industry would be required to have the effectiveness of the GDP training evaluated.

### Approvals: Upon completion of the form, both the employee and the supervisor are to sign and date the form.

## The employee’s supervisor forwards the completed form to the training coordinator.

## The training coordinator reviews the form for completeness and resolves any issues with the employee’s supervisor. Once complete, the training coordinator scans the form, and imports into employee file folder within FileHold.

## Modifications to an employee training program can be made by obtaining a copy of the current signed record from the training coordinator. The copy is redlined to indicate the desired changes and the reason(s) for the changes are noted on the redlined document. A new form is completed incorporating the changes, signed by both the employee and supervisor; the redlined document is attached to the new record and forwarded to the training coordinator so that the training matrix can be updated.

# Procedure: Completing the Employee Training Record

## All training must be documented. The following are instructions to complete the Employee Training Record form (FM2-QM.SLQ003):

### Date of Training: Enter the date of training was conducted. Note: this may be different (earlier) from the date the record is signed. If training signoffs are done electronically, the date of training is located within the “Sign-off sheet” window in FileHold.

### Name/Title of Training Requirement: Enter the name or exact document title of the training requirement for which training was conducted.

### Document Number: If this is a controlled document, enter the assigned unique document number. If there is no document number, enter ‘N/A’ and attach copy of training materials or agenda/summary to the employee training record.

### Rev: Enter the revision of the controlled document. If there is no document number, enter ‘N/A’.

### Type of Training: Indicate the type of training that was conducted.

#### Document Originator – individual who created the document (and is deemed trained).

#### If ‘External’ training, attach a copy of the training materials or syllabus or summary of the training to the Employee Training Record Form.

### Certified as Trainer: Indicate if this training certifies the individual as a Trainer.

#### If yes, then the Trainer or Supervisor must sign the employee training record unless the person is the document originator.

### Effectiveness Evaluation: Indicate if an evaluation of the training effectiveness was conducted, check either ‘Pass’ or ‘Fail’. If effective evaluation was not required, check ‘N/A’.

### If an effectiveness evaluation was conducted, attach to the employee training record applicable written tests or explanations of the type of evaluation conducted. The evaluator is also to initial and date the section on the record.

#### If ‘Fail’ is indicated for the evaluation, retraining must be completed and documented on a new employee training record.

### Employee Number: Enter the SILQ unique employee number associated with the employee. If the employee does not have an employee number (e.g., temporary employees, contractors/consultants) enter ‘N/A’.

### Printed Name: Print the employee’s name.

### Signature: The employee signs their name.

### Date: The employee enters the date they signed the record. Note: if training signoffs are done electronically, the date is located within the “Sign-off sheet” window in FileHold.

### Trainer Signature: If the type of training required a trainer (i.e., interactive), then the trainer signs their name. If no trainer was required, enter ‘N/A’.

### Date: The trainer enters the date they signed the record. If no trainer was required, enter ‘N/A’. Note: if training signoffs are done electronically, the date is located within the “Sign-off sheet” window in FileHold.

## The employee forwards the completed form to the training coordinator.

## The training coordinator reviews the form for completeness and resolves any issues with the employee. Once complete, the training coordinator scans and imports into employee file folder within FileHold.

# Retrieval of Training Programs and Training Records

## Employee training programs and training records are maintained in FileHold.

## See QM.SLQ014 for instructions on how to retrieve/access employee training programs and training records.

# Procedure: Training Coordinator

## The training coordinator is to maintain files for all training activities/records and to monitor employee compliance to their training requirements.

## The training coordinator is to review completed training programs and employee training records for completeness as follows:

### Employee training program: Employee number, name, hire date, status, job title, department and supervisor are all correct. Document title and document number are correct per applicable controlled document. Form has been completed in compliance with GDP. Form has been signed/dated by both the employee and department management.

### Employee training record: Date of training is documented. Document title, document number and revision are correct and reflect most current controlled document in document control system, if applicable. Type of training and effectiveness evaluation requirements meet requirements specified on either the employee training program (for first time employee training to respective document) or per the DCO. Employee number is correct. Form has been completed in compliance with GDP. Form has been signed/dated by the employee. Form has been signed/dated by a trainer if interactive training was conducted; check that trainer has been certified to train to applicable document(s).

## The training coordinator is to create a training matrix identifying the procedures/current revision, employee specific training requirements per the employee training program, employee hire date, employee training program completion date, completed training identified by procedure/revision and if employee is certified as a trainer by procedure/revision per the training records.

## At the end of every month (at a minimum) the training coordinator is to print a hard copy (or electronic copy) of the training matrix, initial/date, scan and import into FileHold.

## At the end of every month (at a minimum) the training coordinator is to identify training discrepancies, print a hard copy (or electronic copy) of the file, initial/date, scan and import into FileHold. The training coordinator is to notify the department supervisors of the training discrepancies in an email or written notification. A copy of the discrepancy report can be used in the notification if necessary.

### The training coordinator will initial note on the hard copy (or electronic copy) file indicating the notification action has been performed. Scan and import into FileHold.