Design Review

Standard Operating Procedure

# Purpose

## The purpose of this standard operating procedure is to define the design review process at SILQ. The procedure describes the requirements for attendance, approval, documentation, and closure of action items.

# Scope

## This procedure applies to all formal design reviews conducted at SILQ as a part of design control activities specified in an approved Design Project Plan.

## In addition, design review activities performed by approved subcontractors for, or in support of, design control projects at SILQ must be in compliance with the requirements defined in the design control program.

# Documents

## Reference Documents

### QM.SLQ001	Document Control

### QM.SLQ004	Design Control Program

### QM.SLQ005	Design Project Planning

## Associated Forms / Templates

### FM1-QM.SLQ008 	Design Review Meeting Minutes Form

# Definitions

## Abbreviations / Acronyms

### DCO:  Document Change Order

### DHF:  Design History File

### DMR:  Device Master Record

### QA:  Quality Assurance

### QMS:  Quality Management System

### V&V: Verification and Validation

## General Definitions

### Design History File (DHF): A compilation of records that describes the design history of a finished device.

### Device Master Record (DMR):  The compilation of all the instructions, drawings and other documents that are required to produce a completed product.

### Design Review:  A documented, comprehensive, systematic examination of a design to evaluate the adequacy of the design requirements, to evaluate the capability of the design to meet these requirements, and to identify problems.

### Document Change Order (form):  The form used to add new or change existing documents in the document control system.  The required information is listed in the form to manage the document control process and record the required approvals.

### FileHold: Software based document management system used to electronically store controlled documents.

### Independent Reviewer:  An individual identified to participate in a design review, who does not have direct responsibility for the design stage being reviewed.

# Responsibilities

## It is the responsibility of Quality Assurance management to ensure this procedure and its referenced procedures are followed during design reviews at SILQ.

## It is the responsibility of design review attendees and department representatives to execute design reviews in compliance with the requirements defined in this procedure.

# Procedure: Design Review Process

## Design reviews at SILQ are comprised of the following two types:

### Technical Review: Intended to provide a comprehensive review process to examine the adequacy of a product design to meets its user needs and design inputs, risk management activities and clinical requirements.  In addition, provides a process to review technical aspects, identify issues, and corrective actions for product design.

### Phase Review: Intended to provide a review of specified deliverables for a phase of the design control project plan to ensure activities and documents have been completed and content is correct.

## The number of technical and phase reviews are to be stipulated in the design project plan. At a minimum, one (1) technical review must be performed during a design project.

## It is recommended to perform a phase review at completion of each design project phase.

## A moderator is to be assigned to:

### Set the time/date of the review

### Define the purpose and type of the review

### Identify applicable documents to be reviewed

### Set the agenda

### Identify all the attendees

## Results from design review preparation are to be recorded in the Design Review Meeting Minutes  Form, FM1-QM.SLQ008. See Section 7 below for further details on completing the meeting minutes form.

## At a minimum, a representative from Quality Assurance, R&D/Engineering, and Manufacturing must attend the design review. When appropriate, additional representatives from other departments or other subject matter experts are to attend if requested or deemed necessary.

## An independent reviewer, not directly associated with the design stage being reviewed, is to attend all design reviews. The independent reviewer is to be identified by Quality Assurance management.

## The moderator is to organize and execute the design review in accordance with the preset agenda with the required attendees.

## It is the responsibility of the attendees to review and evaluate the items (documents, activities, etc.) in accordance with the purpose of the review.

## For technical reviews, attendees are to review technical aspects of product design. It is critical that the review include an evaluation on the adequacy of design outputs to meet the design inputs. System-level to sub-assembly to component-level should be reviewed to ensure a thorough assessment of the design is performed.

## As necessary, multiple technical reviews can be divided up between multiple assemblies or sub-systems of a product.

## For phase reviews, attendees are to review the required deliverables for a given project phase and verify that all activities and deliverables have been completed appropriately.

## During the review (phase or technical) the results of the review and any action items are to be recorded in the Design Review Meeting Minutes Form, FM1-QM.SLQ008. See Section 7 below for further details on completing the meeting minutes form.

## After completion of the design review, meeting minutes are to be circulated and approved by the attendees that they are in agreement with the minutes. The independent reviewer is to verify the meeting minutes correctly reflect the results of the review session and that all action items have been recorded.

# Procedure: Design Review Meeting Minutes Form

## The Design Review Meeting Minutes Form is to be completed as follows:

## Project: Indicate the design project, and/or sub-project, to which the Design Review is applicable.

## Type: Mark one of the following types of review, Technical (Design) Review or Phase Review, in the boxes provided and state the following information accordingly:

### Technical (Design) Review: Specify specific System/Assembly/Component to which the technical aspects are to be reviewed.

### Phase Review: Specify the specific Phase to which the Design Review is applicable and all deliverables are met.

## Moderator: Individual responsible for conducting the Design Review and responsible for completing all applicable sections of the meeting minute form prior to the review.

## Title/Position: Title/Position of Moderator.

## Meeting Date: The date the Design Review Meeting is performed.

## Start Time: The time (HH:MM) when the Design Review Meeting is started.

## End Time: the time (HH:MM) when the Design Review Meeting is ended.

## System/Assembly/Component(s) to be reviewed (if applicable): System/Assembly/Component specifications and/or drawings to be reviewed during the Design Review Meeting.

## Documents to be reviewed (if applicable): Specific documents, including manufacturing related documents, which are to be reviewed during the Design Review Meeting.

## Agenda: Specific description of all items that are to be covered during the Design Review Meeting. The agenda to include any items that are to be reviewed including all System/Assembly/Components and Documents listed in the sections above.

## Review Meeting Participants: Names and Positions of all participants of the Design Review Meeting. Participants include individuals that are physically present during the meeting or directly connected via phone or internet.

## Action Items: A documented event, task, or action that have been identified during the Design Review Meeting.

### #: Assigned in numeric order, starting with “1”.

### Description: Clearly identify the action item that has been identified. Include specific documents if applicable.

### Responsibility: Individual responsible in completing the action item.

### Due Date: Estimated completion of action item.

## The following are to be filled out with the completion of action items:

### Status: Mark one of the following in the boxes provided:

#### Completed: Action Item specified in the description section has been completed.

#### Transferred to next review: Action item transferred for review and closure during the next design review.

### Document Reference/Closure Notes: Documents and notes associated with the closure of the action item. For updated SILQ documents that are controlled by the Document Change Order Process, specify DCO number of the updated document.

### Initials/Date: Individual responsible for the closure of action item.

## Additional Meeting Notes / Observations / Considerations: Any additional notes/observations/consideration to be documented during the Design Review Meeting. If applicable, concluding statements can be recorded in this section.

## Approval of Meeting Minutes (Independent Reviewer): The independent reviewer is to review and verify that the minutes reflect the results of the review meeting and all action items have been recorded. The approval of the meeting minutes publishes the signed initial meeting record. The meeting minutes will not be considered closed until the completion of all listed action items.

# Procedure: Action Item Closure

## Any action items that have been recorded in the meeting minutes form are to be completed and their closure recorded in the form.

## When adding closure information, the responsible party is to sign and date the closure information. If insufficient room is available to properly document closure activities, additional documentation can be attached to the meeting minutes.

## The completion of action items is to be audited as part of the DHF audit and other internal audits.

# Procedure: Design History File (DHF)

## Design review meeting minutes are considered quality records and are to be retained with their corresponding project Design History File.

### Design review meeting documents are to be scanned and imported into FileHold and filed in the appropriate DHF.