Supplier Quality Assurance

Standard Operating Procedure

# Purpose

## The purpose of this standard operating procedure is to define the requirements for evaluation, qualification, control and re-evaluation of suppliers, contractors, service providers and consultants to ensure all product and services meet quality standards and conform to all specified requirements.  This formal supplier qualification system provides a process to:

### Define the requirements for potential suppliers, contractors, service providers and consultants based upon the affect the purchased product or service has on the final product or quality system,

### Evaluate and select potential suppliers, contractors, service providers and consultants based on their ability to meet specified requirements,

### Define the type and extent of control to be exercised over the products, services, suppliers, contractors, service providers and consultants based on the evaluation results,

### Maintain records of supplier, contractor, service provider and consultant evaluations.

# Scope

## The following procedure applies to all suppliers, contractors, service providers and consultants providing products and services that may impact either the final product or the quality system.  This includes, but is not limited to, suppliers and service providers of:  manufacturing materials, raw materials, components, subassemblies, testing services, calibration services, sterilization services, Clinical Research Organization (CRO) for a clinical trial, Contract Manufacturing Organization (CMO) for the assembly of a final product, and other service providers that could impact the regulatory status or quality compliance of SILQ.

## The following procedure applies to supplier evaluations performed for or by SILQ on suppliers, consultants, and service providers.

## For design and development subcontractors that are utilized on projects subject to Design Control, this procedure will be applied as necessary to ensure the quality of product or service provided by R&D subcontractors for design and development activities meet the requirements of SILQ.

## This procedure does not apply to suppliers of general supplies such as office supplies or items.

# Documents

## Reference Documents

### QM.SLQ001	Document Control SOP

### QM.SLQ016	CAPA SOP

### QM.SLQ018	Management Review SOP

### ISO 13485:2016 	International Standards Organization – Medical Devices – Quality Management Systems (section 7.4 – Purchasing)

### 21 CFR 820 	Quality System Regulation (820.50(a) – Evaluation of Suppliers, Contractors and Consultants)

## Appendices / Associated Forms

### FM1-QM.SLQ015	Supplier Quality Self-Assessment Survey Form – 					Manufacturer

### FM2-QM.SLQ015	Supplier Quality Self-Assessment Survey Form – 					Testing Services

### FM3-QM.SLQ015	Category II Supplier Assessment Form

### FM4-QM.SLQ015	Supplier Re-Evaluation Form

### FM5-QM.SLQ015	Certificate of Audit Form

### FM6-QM.SLQ015	SILQ Approved Supplier List (ASL) Form

### FM7-QM.SLQ015	Supplier Assessment Schedule / Status Form

### FM8-QM.SLQ015	Supplier Corrective Action Request (SCAR) Form

# Definitions

## Abbreviations / Acronyms

### ASL:  Approved Supplier List

### CAPA: Corrective Action and Preventive Action

### P.O.:  Purchase Order

### QSIT:  The U.S. FDA’s Quality System Inspection Technique

## General Definitions

### Assessment:  Term used to describe the process of evaluating the quality system and quality controls of a particular supplier.  This term is used synonymously with “audit” in this procedure.

### Component: any material, substance, piece, part, software, firmware, labeling, or assembly, which is intended to be included in the finished, packaged, and labeled device.

### Fabricated Product:  Custom-manufactured raw materials, components, manufacturing materials, in-process devices, final product which are not available as an off-the-shelf item.

### FileHold: Software based document management system used to electronically store controlled documents.

### Finding:  A non-fulfillment of a requirement within the Quality Management System.

### Manufacturing Material: any material or substance used in or used to facilitate the manufacturing process, a concomitant constituent, or a byproduct constituent produced during the manufacturing process, which is present in or on the final product as a residue or impurity not by design or intent of the manufacturer.

### Metric:  A general term referring to the measurement of a system’s attributes.

### Nonconformance:  An audit finding that indicates there is a significant lapse in the performance of the quality system or there is a non-fulfillment of a specific requirement of a governing standard or regulation. Significant lapse may be characterized as a number of similar findings in different departments or repeated findings in the same department over a number of audits.

### Operating Supplies:  Product or materials that are not used in or used to facilitate the manufacturing process and are not in or on the final product; however, are essential to the manufacturing processes and environmental controls such as filters, water separators, lubricants, etc.

### Product:  components, manufacturing materials, in-process devices, final product, and returned final product.

### Qualified Auditor (Individual or Team):  Those persons having appropriate knowledge of applicable standards and technical aspects of the area being audited, but not having direct responsibility for the matters being assessed.

### Receiving Inspection:  the inspection and acceptance or rejection of all incoming product.

### Recommendation:  An identified opportunity for improvement. Recommendations are neither findings nor nonconformities.

### Supplier:  A manufacturer, service provider, custom fabricator, or distributor that provides product or services to SILQ.

# Responsibilities

## It is the responsibility of Quality Assurance and Manufacturing to define the list of suppliers and service providers to be evaluated.

## Quality Assurance and Manufacturing management are responsible for final determination of supplier status, including follow up needed for suppliers who do not have an acceptable qualification rating from the self-assessment or on-site audit.

## Quality Assurance is responsible for identifying the resources (including use of third party auditors) and conducting all the supplier evaluation activities in compliance with this procedure and maintenance of associated records.

## Quality Assurance is responsible for maintaining the Approved Supplier List.

## It is the responsibility of authorized purchasing personnel to purchase items from qualified suppliers on the Approved Supplier List.

# Procedure: General Requirements

## Supplier quality system assessments are tools to evaluate and document the state of the quality system and quality controls in place at a supplier to ensure that all SILQ requirements are consistently being met.

## Suppliers, contractors, service providers and consultants are to be evaluated, qualified and added to or disqualified and removed from the Approved Supplier List (ASL), refer to Section 14.

## Schedules for supplier assessments will be developed based on business needs and resource availability, refer to Section 15.

## The Certificate of Audit (refer to Section 9.10) or pages 1 & 2 of the Self-Assessment Survey Forms, as applicable, may be used during external inspections (i.e., FDA) and/or audits as proof of the supplier quality assessment.

# Procedure: Supplier Categorization

## The following categories define the affect / risk associated with the provided product or service and the qualification requirements applied to each category based upon the associated risk.  Each supplier, contractor, service provider and consultant is to be placed into one of the categories based on the product or service provided to SILQ. Note: each supplier is to be categorized based on the most critical product supplied.

### CATEGORY I:  High Risk Suppliers and Service Providers

#### Suppliers providing products or services critical to the function, safety, or compliance status of SILQ’s final product.  Examples include products that are sole sourced using proprietary and/or unique technology that would be difficult to duplicate; contract manufacturers, sterilization service providers, final product distribution service provider, etc.

### CATEGORY II: High Risk Subcontractors and/or Consultants

#### Subcontractors and Consultants utilized in projects that impact the function, safety, or compliance status of SILQ’s final product.  Examples include subcontractors and consultants responsible for mechanical design and development, software development, regulatory submissions, etc.

### CATEGORY III: Medium Risk Suppliers and Service Providers

#### Suppliers providing products included in the final device or manufacturing tooling / supplies that could affect the safety or efficacy of the final device, but the probability of a defective product is relatively low and/or there is a high probability that a defective product would be identified prior to release of final product.  Examples include molds, tooling, labeling, product that is sole sourced, but utilize common methods and/or technology that could be readily duplicated.

#### Services that have the potential to indirectly affect the safety, efficacy or compliance status of a SILQ product or process.  Examples include equipment calibration, environmental control / certification, etc.

### CATEGORY IV: Low Risk Suppliers

#### Suppliers of commercially available (off the shelf) product that, although hold a low in-direct risk, does not directly affect the safety or efficacy of the final device.

### CATEGORY V: Non-risk Suppliers

#### Distributors of commercial (off the shelf) product.  Distributor activities are limited to the receipt, storage and shipment of product manufactured by a supplier.

# Procedure: Supplier Qualification Requirements

## This section defines the qualification requirements for each category defined in Section 7.

## CATEGORY I:

### Initial: An initial, on-site supplier evaluation with acceptable results; or completion of a self-assessment FM1-QM.SLQ015 or FM2-QM.SLQ015 with passing results and attachment of an active industry recognized quality certificate or accreditation.

### Re-evaluation:  Ongoing qualification requirements consist of annual performance evaluation per FM4-QM.SLQ015 and updated copy of active industry recognized quality certificate or accreditation, if applicable.  On-site audits may be required if the supplier’s performance fails to meet re-evaluation requirements.

### Quality of incoming materials is verified in accordance with receiving inspection requirements as defined by internal procedures for the applicable contract manufacturing organizations.

## CATEGORY II:

### Initial:  Qualification of subcontractors and consultants is performed on a project by project basis.  A copy of the subcontractor’s and/or consultant’s Curriculum Vitae (CV) or resume is to be obtained, reviewed and FM3-QM.SLQ015 form completed.  The completed form with attached CV or resume are to be maintained in secure file storage.

### Re-evaluation:  Category II suppliers are qualified on a project by project basis and as such there is no time-based requirement for ongoing qualification.

## CATEGORY III:

### Initial: Completion of a self-assessment survey FM1-QM.SLQ015 or FM2-QM.SLQ015 with passing results.

### Re-evaluation:  Ongoing qualification requirements consist of biennial (every two years) performance evaluation per FM4-QM.SLQ015  and successful completion of self-assessment FM1-QM.SLQ015 or FM2-QM.SLQ015.  Note: an active industry recognized quality certificate or accreditation may be used in lieu of the self-assessment.  On-site audits may be required if the supplier’s performance fails to meet re-evaluation requirements.

### Quality of incoming materials is verified in accordance with receiving inspection requirements as defined by internal procedures for the applicable contract manufacturing organizations.

## CATEGORY IV:

### Initial: Completion of pages 1 & 2 of self-assessment survey FM1-QM.SLQ015 or FM2-QM.SLQ015 with explanation in page 2 ‘Notes’ section why supplier is considered low risk and no further assessment required.  Mark remaining sections as ‘N/A’.  Attach any relevant certifications if available.

### Re-evaluation:  Ongoing qualification requirements consist of biennial (every two years) performance evaluation per FM4-QM.SLQ015 and successful completion of self-assessment FM1-QM.SLQ015 or FM2-QM.SLQ015.  Note: an active industry recognized quality certificate or accreditation may be used in lieu of self-assessment.  On-site audits may be required if the supplier’s performance fails to meet re-evaluation requirements.

### Quality of incoming materials is verified in accordance with receiving inspection requirements as defined by internal procedures for the applicable contract manufacturing organizations.

## CATEGORY V:

### Initial: Qualification of distributors of “off-the-shelf” commercially available product is not required prior to purchase of products.   Note: it is desirable that assessment and qualification be conducted for the manufacturer of the commercially available product per the categorizations listed in Section 7, as applicable.

### Re-evaluation:  Ongoing qualification requirements consist of biennial (every two years) performance evaluation per FM1-QM.SLQ015.

### Quality of incoming materials is verified in accordance with receiving inspection requirements as defined by internal procedures for the applicable contract manufacturing organizations.

### Note: evaluation of Category V suppliers is primarily based on accuracy of delivery and condition of product received.

# Procedure: Conducting On-Site Supplier Audits

## For suppliers and/or service providers that require an on-site audit, the audit will be conducted by an individual or a team that has the appropriate technical background and training to conduct the audit (Note: this may be contracted to a third party).

## The supplier and/or service provider will be assessed against the appropriate standards and any non-conformances or findings that suggest noncompliance with the standards will be documented.

## Prior to the pre-audit meeting, the assigned auditor should develop an overall Supplier Quality Assessment checklist appropriate to the product or service being provided.  The checklist can be organized by quality system elements, functional areas, utilize the FDA QSIT approach, or other approach as deemed appropriate.

## Pre-Audit Meeting:  Approximately one week prior to the audit, the assigned auditor will contact the appropriate supplier management to provide the following details:

### The standards to be utilized and the specific areas of the standards to be applied during the audit,

### Introduce the audit team (if applicable),

### The requirements for audit follow-up,

### The requirements for audit closure.

## Audit:  The on-site audit is conducted by the assigned auditor and/or audit team, as applicable.  Items reviewed and evidence for any non-conformances or findings shall be documented.  A daily debriefing may be conducted with the supplier to discuss the outcome of that day’s activities including areas of excellence and any non-conformances or findings.

## Final Debriefing:  On the final audit day or within approximately 5 days from the completion of the audit, the assigned auditor is to conduct a final debriefing with the appropriate supplier personnel.

### During the final debriefing, all results from the audit will be communicated and discussed to ensure correct interpretation and to allow for any open issue to be resolved.

### Ensure the supplier contact has a clear understanding of their responsibilities and the schedule for responding to any final audit non-conformances or findings.

## The Supplier Audit Report:  the assigned auditor should complete a Supplier Report summarizing any non-conformances, findings, recommendation, any preliminary corrective action plan(s) and submit to SILQ for review within 10 working days of the debriefing meeting to allow time for changes during review of the report prior to submission to the supplier.  Refer to Section 11.

### Once complete, submit the Supplier Audit Report to the supplier.

## Audit Follow-up:  After receipt of the report the supplier should respond with a corrective action plan within 30 days, if applicable.

### Quality Assurance will report any delinquent Corrective Action Plans and / or activities to the supplier’s management for appropriate follow-up and action.

## Audit Closure Requirements:  Identified corrective actions (per the supplier corrective action plan) should target being complete within 90 days from the final debriefing.  An audit will be considered complete when all corrective actions, any required re-audits, and all associated documentation are complete.  Note:  An audit may be closed with unfinished corrective actions due to the following:

### If the scope of the corrective actions requires more than the maximum 90 days to complete as identified in the supplier’s corrective action plan;

### The supplier’s management has committed to a final date for completion, with the responsibility assigned to a specific person, and the supplier’s management has assumed responsibility to assure completion.

### SILQ Quality Assurance will follow-up with the supplier at the committed date of completion to verify the corrective action has been successfully completed.

### Once the audit activities have been completed, Quality Assurance will document the supplier category and status (refer to Section 11.3) on the final report and Manufacturing management will approve the report.

## Certificate of Audit: Once the audit and all associated activities have been completed, the assigned auditor will issue a certificate of audit, FM5-QM.SLQ015, with copy sent to the supplier and the original to be filed in the Supplier Quality file.  Note: a certificate of audit is only required for on-site supplier quality audits.

## If all corrective actions are not completed but are scheduled for completion, the supplier status should be listed as ‘Conditional’; these corrective actions are to be considered in the scheduling cycle for the next year.

# Procedure: Completing Supplier Self-Assessments

## For suppliers and/or service providers that do not require an on-site audit, a Supplier Self-Assessment Survey Form (FM1-QM.SLQ015 or FM2-QM.SLQ015) shall be completed by the supplier and returned to SILQ.

### The target for completion and return of FM1-QM.SLQ015 or FM2-QM.SLQ015 is 15 days from issuance to the supplier.

### Quality Assurance will report any delinquent self-assessments (i.e., >30 days) to the supplier’s management for appropriate follow-up and action.

### If necessary, the supplier self-assessment form can be completed by the SILQ personnel from information provided directly by the supplier through correspondence or communication.  In these specific cases a quality manual is required from the supplier to be included as part of the assessment form.

## Upon receipt, SILQ will complete all remaining sections of the assessment survey form as follows and determine the overall supplier score:

### Sections that are not applicable to a particular supplier based on product or service provided may be marked as ‘N/A’.

### Verify all required information has been filled out by the supplier.  Contact supplier if additional information or clarification is needed;

### Review the responses for each question.  In the case of any section that has been marked ‘No’ or has not been answered, circle the Scoring value in the right hand column.  Do not mark or circle these values for questions that have been appropriately answered as ‘Yes’ or ‘N/A’;

### Add all the values up that have been circled and subtract this number from 100.  Record this value in the Supplier Score box in the Results Section of the survey form;

### Based on the score and the recommended status in the table below, record the supplier category and status for the supplier in the Results Section of the survey form;

| #### Supplier Score | #### Recommended Status |
| --- | --- |
| 85-100 | Approved |
| 70-84 | Conditional |
| <70 | Reject / Disqualify |

### SILQ Quality Assurance and Manufacturing management review and approve the final conclusions in the Results Section and the document is filed in the Supplier Quality file.

#### Scan and import into FileHold and file in the appropriate Supplier Quality folder.

# Procedure: Completion of Supplier Assessments and Status Categories

## All completed Supplier Quality Assessments (on-site audit reports and self-assessment surveys) are to be reviewed and approved by a Quality Assurance and Manufacturing management.

## In the very specific case of Category I or III suppliers that are unable to meet the supplier qualification requirements, but are a necessary or exclusive source for a critical component or service that cannot be provided by another supplier; the following is to be performed:

### In the results comments section of the applicable assessment or on-site audit report, a list of actions required to maintain the quality of components or services that must be performed by the supplier or SILQ will be recorded or attached.  These actions can include, but are not limited to, the following:

#### Additional criteria or actions to be performed during the receiving inspection of products to ensure compliance with specifications;

#### Additional inspection and testing by the supplier; and

#### Additional functional testing of incoming product before release by SILQ.

### The listed required actions are to be approved by Quality Assurance and Manufacturing management.

### If the Supplier status is listed as Conditional, in the ‘Comments’ section on the ASL (FM6-QM.SLQ015) for that supplier, list or reference the required actions necessary for utilization of the supplier.

#### Compliance to the required actions listed or referenced in the ASL for the supplier will be evaluated on an annual basis and reported as a metric for disclosure during management review.

## The following are the applicable supplier status categories:

### Approved: the supplier is authorized to supply product or provide service to SILQ and is listed on the ASL.

### Conditional:  the supplier is authorized to supply product or provide service to SILQ and is listed on the ASL; however, additional conditions or controls are required and are listed on the ASL.

### Reject / Disqualify: the supplier is not authorized to supply product or provide a service to SILQ and is not to be listed on the ASL.  If this status is determined after initial listing on the ASL, the supplier is to be removed from the ASL.

### Inactive: the supplier has been approved to supply product or provide a service to SILQ; however, they have not supplied any product or service within the last year.

# Procedure: Re-audit

## If it is determined that a re-audit is required based on the number of non-conformances and/or findings and subsequent supplier corrective action plan, it will be scheduled, either independent of the Supplier Assessment Schedule or as part of the next scheduled audit, as appropriate.

## If further corrective actions are required after the re-audit, these will be documented and added to the existing supplier file as indicated in Section 11.

# Procedure: Supplier Re-Evaluation

## On-going performance evaluation is conducted on an annual or biennial basis as applicable per Section 8 and documented using FM4-QM.SLQ015.

## SILQ Quality Assurance and Purchasing personnel work together to complete the form for each applicable supplier.

## SILQ Quality Assurance and Manufacturing management review and approve the final conclusions in the results section and the document is filed in the Supplier Quality file.

### Updates to the ASL are made based on the results of the re-evaluation, as applicable.

### Document is scanned and imported into FileHold and filed in appropriate Supplier Quality file.

# Procedure: Approved Supplier List

## SILQ Quality Assurance will create and maintain an Approved Suppliers List (ASL), FM6-QM.SLQ015.  Within 60 days of initial listing on the Approved Supplier List, each supplier must meet the qualification requirements listed in Section 8.  Suppliers will be listed as ‘Conditional -- Assessment in-progress’ in the comments section of the ASL until the qualification requirements are completed. Once initial qualifications are met, suppliers must conform to the re-evaluation requirements defined in Section 8.

### If products or services are purchased prior to the qualification / approval of a supplier, affected SILQ products or services will not be released for human use until completion of the supplier qualification process.  Note: If the Supplier is listed on the ASL as ‘Conditional – Assessment in-progress’ parts will be inspected, and if conforming to specification, may be released for use in manufacturing product with appropriate justification.

## Additional supplier quality requirements or actions that are the result of a supplier audit or self-assessment will be listed in the comments section of the ASL.

# Procedure: Supplier Assessment Schedule

## On an annual basis, SILQ Quality Assurance will develop a schedule of supplier on-site audits and self-assessments for execution.  Form FM7-QM.SLQ015, Supplier Assessment Schedule will be completed and is to include all suppliers that require an assessment and/or re-evaluation. Category V suppliers are not included on the assessment schedule.  This schedule will be reviewed and approved by QA and may be revised at any time throughout the year.

### The schedule is to be updated as self-assessments, audits, follow-ups, and closures activities are completed.

# Procedure: Supplier Corrective Action Request (SCAR)

## SCARs can be generated as a result of the systemic nature of audit observations or at any time as a result of significant supplier performance issues.

## SCAR requestor obtains the unique SCAR number assigned by Quality Assurance.

### Quality Assurance is to maintain a SCAR Log with the following minimum information: SCAR Number, Supplier, Date Initiated, Date Returned from Supplier, Date Closed, Initials / Date of person completing the entry.

### The SCAR number will be assigned (YY-XXX, current year followed by sequential number) by taking the next number on the SCAR Log.

## The appropriate SILQ department manager or designee completes Sections 1 and 2 of FM8-QM.SLQ015, Supplier Corrective Action Request (SCAR) Form.

## Send the partially completed form to the supplier’s management for documentation of the corrective action plan(s) and actions taken in Sections 3 and 4.

### Suppliers should target completing the SCAR form within 15 days of receipt.

## Upon receipt of the completed SCAR form, SILQ Quality Assurance shall review the plan and actions taken by the supplier and complete Section 5.

### If actions are deemed acceptable by the reviewer, the SCAR is considered closed and stored in secure file storage identified by supplier.

### If actions are deemed unacceptable by the reviewer, further action must be defined and resolved prior to SCAR closure.

### Quality Assurance completes information in SCAR Log.

## Delinquent SCARs will be tracked by SILQ Quality Assurance and reported to Executive Management through the Corrective and Preventative Action (CAPA) and the Management Review processes.

# Procedure: Supplier Qualification Process Metrics

## Metrics for describing the effectiveness and functionality of this system shall be developed for disclosure to Executive Management.

### External metrics (minimum): SILQ will monitor the Approved Suppliers throughout the year. Methods used but not limited to include: the number of non-conforming reports issued, the number of SCARs issued, on-time deliveries, results of supplier assessments, and on the compliance with any additional required actions listed for specific suppliers on the ASL.

### Internal metrics (minimum): SILQ performance to the supplier assessment schedule.

# Procedure: Supplier Assessment Records

## All completed supplier records and applicable documentation are to be filed in secure file storage identified by supplier and maintained in accordance with record retention policies defined in QM.SLQ001, Document Control SOP.

### Records and applicable documentation are to be scanned and imported into FileHold and filed within appropriate Supplier Quality Record file folder.