Corrective and Preventive Action

Standard Operating Procedure

# Purpose

## The purpose of this standard operating procedure is to define the requirements for identifying issues, determining root causes or potential causes, implementing and verifying corrective and preventive actions at SILQ.

## This standard operating procedure establishes activities and responsibilities to ensure the implementation of effective corrective and preventive actions, including, but not limited to:

### Use and analysis of various data sources to identify existing and potential causes of nonconforming product, or other quality issues (or potential issues),

### Identifying who is responsible for taking the corrective action,

### Determining when and how this corrective action will be carried out,

### Disseminating information on this corrective action to those directly responsible for ensuring quality,

### Determining how the effectiveness of the corrective action will be verified.

# Scope

## This procedure applies to all elements of SILQ governed by the quality management system. This procedure applies to the correction and future prevention of nonconformities and the prevention of potential nonconformities that are adverse to, or have the potential of affecting the quality of product, customer satisfaction, or identified Quality System issues.

# Documents

## Reference Documents

### QM.SLQ001	Document Control SOP

### ISO 13485:2016 	International Standards Organization – Medical Devices – Quality management systems – Requirements for regulatory purposes (section 8.2.5 – Monitoring and measurement of processes; section 8.5.2 – Corrective action; section 8.5.3 – Preventive action)

### 21 CFR 820 	Quality System Regulation (820.100 – Corrective and Preventive Action)

## Appendices / Associated Forms

### FM1-QM.SLQ016	Corrective and Preventive Action Report Form

# Definitions

## Abbreviations / Acronyms

### CAPA:  Corrective Action and Preventive Action

### QMS:  Quality Management System

## General Definitions

### CAPA Owner:  A resource identified by the CAPA team to lead the investigation and implementation of corrective and preventive actions associated with the approved CAPA proposal.

### CAPA Team: A cross functional team assigned the responsibility for management of the CAPA system.

### Correction: An action taken to eliminate an identified nonconformity.

### Corrective Action:  Action taken to correct and eliminate the cause of existing nonconformities or deficiencies and prevent future recurrence of the problem.

### Data sources:  Information from within the QMS providing information used to identify nonconformities or potential nonconformities.

### Effectiveness Check:  The establishment, by objective evidence, that the actions taken to correct the cause of a nonconformity have been successful in eliminating the occurrence of the non-conformity to the extent specified in the acceptance criteria for the corrective actions.

### FileHold:  Software based document management system used to electronically store controlled documents.

### Preventive Action:  Actions taken to eliminate the causes of potential nonconformities or deficiencies thus preventing a problem before it occurs.

### Risk Assessment:  The process of investigation of available information to identify hazards and, using objective qualitative or quantitative methods and judgment, to estimate the risk of the nonconformance.

### Root Cause:  The fundamental condition without which a problem would not occur.

### Validation:  The establishment, by objective evidence, that system, processes or product conform to defined user needs and intended uses.

### Verification:  The establishment, by objective evidence, that the output of the system, process or product, meets the design input requirements.

# Responsibilities

## It is the responsibility of all SILQ employees to make suggestions for improving systems, advise of potential quality or customer satisfaction issues, and report any reoccurring nonconformance issues to the CAPA system.

### Any trained employee can initiate a CAPA proposal using form FM1-QM.SLQ016, Corrective and Preventive Action Report Form.

## The CAPA team has the responsibility of managing the CAPA system.   The CAPA team will be represented at a minimum by the management or designees of the following functions:

### Quality Assurance

### Manufacturing/Operations

### R&D/Engineering

## The CAPA team is responsible for reviewing CAPA proposals, approving CAPA proposals, initiating CAPA projects, assigning appropriate resources, determining hazard level and priority level (based on safety, cost, or impact to Quality System), monitoring progress, and approving closure when effectiveness checks have been successfully completed.

## The CAPA team is responsible for documenting the rationale when a CAPA proposal is not approved.

## The CAPA Owner is responsible for a variety of activities, including interim containment actions identified, root cause investigation, corrective/preventive action(s), and verification of effectiveness.  In addition, the CAPA Owner is responsible for communications to contract manufacturers, suppliers, and other service providers of CAPA affecting them and working to obtain corrective action replies in a timely manner.

## Quality Assurance is responsible for administering various elements of the CAPA process including CAPA # assignment, completion and maintenance of a Corrective and Preventive Action Log, CAPA activity reports, status of open CAPAs and trending for Management Review, and maintenance/retention of CAPA documentation.

# Procedure: General Requirements

## Any employee can initiate a CAPA request.

## A CAPA request is initiated when a nonconformance is determined to have an identified impact on product quality, delivery, schedule, processing efficiency, customer satisfaction, product cost, or identified Quality System issues. SILQ will also use trending data from available sources of QA data to determine the need for CAPA. At a minimum, a corrective action request, using FM1-QM.SLQ016, Corrective and Preventive Action Report Form, will be generated for the following reasons (not all-inclusive):

### Management Review of QA data of any type identifies a significant negative trend in the performance of a product or a quality system.

### Adverse Events

### Product Recall or Field Corrective Actions

### A CAPA request, QA audit or regulatory inspection identifies a significant quality system or product deficiency.

## Quality data from all sources, internal and external, may be used to identify nonconformances and to initiate corrective and/or preventive action where appropriate. The sources may include, but are not limited to the following:

### Nonconforming Material Reports

### Quality Audit Reports

### Management Reviews

#### During the Management Review process, the organizational sources of quality data will be reviewed to additionally determine the need for CAPA projects.  These sources of QA data are defined in the Management Review procedure but are considered part of the overall CAPA process.

### Customer Feedback and Complaint Reports

### External reports of product problems or adverse events

### Internal and External Audit Reports

### Supplier Quality Information

### Clinical Feedback and Complaint Reports

### Process Controls

### Equipment Maintenance and Calibration

### Verification and Validation

## Appropriate statistical methodology shall be employed where necessary to detect recurring quality problems.

## FM1-QM.SLQ016, Corrective and Preventive Action Report Form, will also be used to initiate and track preventive actions and opportunities for improvement.

## CAPA Report Form

### FM1-QM.SLQ016, Corrective and Preventive Action Report Form may be completed electronically, and expanded as necessary (i.e., number of rows or space within a section, etc.).

### The CAPA Report Form should be completed concurrently as actions are being performed.  It is intended to document activities and provide assessment status in real time.

### If the form is completed electronically, no form content may be deleted.  All signatures must be original.  Once the form contains original signatures, changes/additions/deletions made to that portion of the form shall be initialed and dated by the individual making the changes/additions/deletions.

### Attachments in support of the CAPA project must be associated using the CAPA number and cross referenced within the form.

## There are three main phases in the CAPA process:

### Initiation – A CAPA request is generated and assigned a CAPA number.

### Completed – Root cause investigation and corrective/preventive action plan complete, and effectiveness check acceptance criteria are defined and approved.

### Closed –Effectiveness check(s) are complete and found acceptable.

# Procedure: Completing the CAPA Report Form

## Initiation: Any employee can initiate a CAPA. When it is determined that action should be taken, the originator of the CAPA proposal obtains the next available number from the CAPA log from QA. The originator initiates FM1-QM.SLQ016 and completes Section I prior to submitting to Quality Assurance management for initial investigation and recommendation.

## Section I: Indicate if it is a corrective action or preventive action.  Type in the originator’s name and date. Include a clear, concise, description of the identified non-conformance or opportunity for improvement.  Indicate all applicable sources that initiated the CAPA; include specific document numbers where applicable.

## Section II:  Quality Assurance (QA) will evaluate the problem/condition description to determine the validity of the CAPA. QA will either recommend approval of  the CAPA for completion or rejection with reason for rejection.

## Section III: Approvals to Open or Reject.

### The CAPA team will evaluate the request and QA’s recommendation.  The CAPA Team will indicate if the CAPA request is ‘approved’ or ‘rejected’.  If rejected, enter reason in space provided; and the CAPA Team signs the form.

### On rejection, the CAPA will be closed and a line item in the CAPA log will also be closed and noted as ‘rejected’.

### The rejected form is to be retained by Quality Assurance in the CAPA files.

### If approved, the CAPA Team will identify the owner for the respective CAPA project and the CAPA Team signs the form.

## Section IV Investigation and Determination of Root Cause: The issue will be investigated to the root cause level by the owner in a timely manner.

### List the details of the root cause analysis including investigative approach (or reference to applicable documents), data, and conclusions of the investigation.

### Risk/Hazard Analysis:  If a risk/hazard analysis is indicated due to a potential or apparent safety issue, the analysis will be performed and used in determination of appropriate action plan.

### Risk Management Report:  Determine and indicate if the Risk Management Report needs to up be updated.

### Analysis Completed By: The CAPA owner will enter name and date (may be typed into form) when the investigation is complete.

## Section V Corrective Action or Preventive Action Plan: Determine the best plans to eliminate the root cause of the defect.   Appropriate corrective/preventive actions that may result from analysis may include (but are not limited to):

### Design Changes

### Further training of operators or suppliers.  Note: training must be documented as to subject, date and signed by all attendees.  This should not be the sole corrective action.

### Change in process control methods

### Revised specifications or Quality Systems documents

### Section V:  Document the corrective/preventive action(s).  Number the actions sequentially; describe the action(s) to be taken; assign responsibility for implementation of action(s); enter the estimated date the action will be completed.

#### The corrective/preventive action plan should be determined and documented within 30 calendar days of CAPA initiation.

#### The estimated date of completion should be completed within 90 calendar days of CAPA initiation.

#### If required, the estimated date of completion may be extended. The justification for extension shall be documented.

### Verification and Validation:  Prior to implementation of a product or process related action plan, describe the extent of verification/validation activities that must occur prior to implementation.  If verification/validation is not necessary, provide a justification.

### Consideration concerning the effect of the action on the overall performance of the product or quality system will be documented. The objective is to ensure the action, while addressing one issue, does not create another nonconformance or adversely affect the ability to meet regulatory requirements or the safety and performance of the device.

### Action Plan Summary Completed By: The individual who completed the corrective/preventive action plan enters name and date (may be typed into form).

### Action Plans are to be approved (signature) by the department(s) implementing the plan (Note: this constitutes notification of the management of the department responsible for the nonconformity or undesirable condition) and the Quality Assurance department.

### Date Action Plan Implementation Complete:  Enter the date that all identified actions in the plan are complete.  The CAPA owner signs and dates section V.

## The CAPA will be considered completed when the root cause investigation and corrective/preventive action plan is complete, and effectiveness check acceptance criteria are defined.

## Section VI Verification of Effectiveness:  Appropriate effectiveness checks will be defined to ensure the validity of the action in eliminating the root cause.  Acceptance criteria for effectiveness checks must be established prior to collection of effectiveness check data.

### Section VI:  The respective CAPA owner documents the plan and time schedule / evaluation period for completing the effectiveness evaluation.  Number the effectiveness checks to correspond with actions listed in Section V; describe the method(s) to be used to confirm effectiveness; define the acceptance criteria.

### Effectiveness Plan Completed By: The CAPA owner enters name and date (may be typed into form after documenting plan).

### QA Plan Approval: the effectiveness plans are to be approved (signature) by the Quality Assurance department.

### Indicate the results of the effectiveness check when completed.  The individual who performed the check will initial/date.  If effectiveness is confirmed, no further action is required.  If the action was not effective, describe results in the comment section.  The CAPA team will evaluate and make recommendations accordingly.

### All CAPAs will be verified to ensure:

#### Actions taken were effective

#### Actions do not create new problems in other areas

#### Actions do not adversely affect a process or completed component

### A variety of methods including, but not limited to, specific monitoring methods, ongoing quality data trend analysis, and internal auditing can accomplish the effectiveness checks.

## Section VII CAPA Team Approval to Close CAPA:  Upon confirmation of effectiveness, the CAPA will be closed. The CAPA form will contain or reference all associated information and documentation.

### The CAPA owner then submits the complete package to the CAPA Team for approval.  Approvals for closure of FM1-QM.SLQ016  must be the same functional areas as those that approved the initiation of the CAPA project.

### Section VII: When the CAPA team determines that the CAPA report should be closed, they will sign/date.  When all required signatures are complete, the CAPA is considered to be closed.

### The closed CAPA will be filed and maintained by Quality Assurance in the CAPA file as a quality record.

### Upon closure, update the CAPA Log accordingly.

# Procedure: CAPA Log

## Quality Assurance is to create and maintain a CAPA Log containing the following minimum information: CAPA #, Initiation Date, Part or Document #, Initiated By, Date CAPA Complete, Date CAPA Closed and Closed By.

### The CAPA number schema will be YY-XXX, current year followed by sequential number.

### The CAPA Log is archived on a secure network server.

# Procedure: CAPA Reporting

## The status and progress of the CAPA system will be reviewed during scheduled Management Review Meetings.

# Procedure: CAPA Records Retention

## All records and applicable documentation are filed and maintained by Quality Assurance in the CAPA file as a Quality record in accordance with record retention policies defined in QM.SLQ001, Document Control SOP.

### Records are to be scanned and imported into FileHold and filed within appropriate CAPA folder.