Internal Audits

Standard Operating Procedure

# Purpose

## The purpose of this standard operating procedure is to define the requirements for the scheduling, performing, reporting and following-up of internal audits of the Quality Management System (QMS) to assess the compliance to,  and effectiveness of, the QMS to meet established requirements, including applicable regulatory requirements defined by the organization.

## This procedure provides a process to:

### Define the requirements for conducting internal quality audits;

### Report and evaluate the results of the audit and implement corrective actions as required; and

### Maintain records of the internal audits.

# Scope

## Internal audits per this procedure are limited to those elements of the organization subject to the Quality Management System. Qualified external auditors may be utilized to perform part of, or all, functions of this procedure.

# Documents

## Reference Documents

### QM.SLQ001	Document Control SOP

### QM.SLQ016	Corrective and Preventive Action SOP

### QM.SLQ018	Management Review SOP

### ISO 13485:2016 	International Standards Organization – Medical Devices – Quality management systems – Requirements for regulatory purposes (section 8.2.4 – Internal Audit)

### 21 CFR 820	Quality System Regulation (820.22 – Quality Audits)

## Appendices / Associated Forms / Templates

### FM1-QM.SLQ017	Internal Quality Audit Schedule

### FM2-QM.SLQ017	Internal Quality Audit Checklist

### FM3-QM.SLQ017	Internal Quality Audit Final Report

### FM4-QM.SLQ017	Certificate of Internal Audit

### FM5-QM.SLQ017	Auditor Qualification Record

# Definitions

## Abbreviations / Acronyms

### QMS:  Quality Management System

## General Definitions

### Audit:  Systematic, independent and documented process for obtaining and evaluating objective evidence to determine whether or not audit criteria has been fulfilled.

### Audit Evidence: Verifiable records, statements of fact or other information relevant to the satisfaction of the audit purpose.

### FileHold: Software based document management system used to electronically store controlled documents.

### Finding: A non-fulfillment of a requirement within the Quality Management System or an established regulatory requirement.

### Metric: A general term referring to the measurement of a system’s attributes.

### Qualified Auditor (Individual or Team): Those persons having appropriate knowledge of applicable standards and technical aspects of the area being audited, but not having direct responsibility for the matters being assessed.

### Recommendation: An identified opportunity for improvement that:

#### Is an isolated incident, which is not a violation of audit requirements or regulations

#### Will not cause performance or reliability failure of a component or sub-assembly

#### Will increase compliance with audit criteria

# Responsibilities

## Quality Assurance is responsible to implement this procedure, identify the resources (including use of third part auditors) and coordinate the audit.

## It is the responsibility of departments regulated by the QMS to cooperate with the audit execution.

## It is the responsibility of Executive Management to ensure that any corrective and preventive actions required as a result of the audits are taken in a timely manner and verified as effective.

## It is the responsibility of the auditor(s), whether chosen internally or contracted through external sources, to comply with this procedure.

# Procedure: General Requirements

## Internal audits shall be performed on a scheduled basis in order to determine the continuing compliance of the QMS to governing standards and regulations and adequacy of implementation of the QMS. Both documents and records shall be reviewed for such adequacy and compliance.

## Audit reports shall contain sufficient information to measure effectiveness, identify deficiencies and provide a means for driving areas of improvement where necessary. Audit reports may also contain recommendations for areas of improvement.

## A schedule for internal quality audits shall be developed annually, refer to Section 12.

## The Certificate of Internal Audit (refer to Section 10.6) may be used during external inspections (i.e., FDA) and/or audits as proof of the internal quality audit.

# Procedure: Auditor Requirements

## Auditors may be chosen internally or contracted through external sources.

## An auditor will have demonstrated and documented formal or experiential training in the exercise of the audit function relevant to ISO 13485:2016 and 21 CFR 820. Qualified auditors shall be approved using FM5-QM.SLQ017 Auditor Qualification Record.

### Auditor Qualification Record, FM5-QM.SLQ017, shall be completed, scanned, imported into FileHold, and filed as follows:

#### For internal auditors: File in employee’s training folder.

#### For external auditors: File within the auditor’s Supplier Quality folder in the Supplier QA drawer.

#### Name the record with the name of the auditor. For example: “Auditor Qualification Record – First Name Last Name”.

## Auditors shall be independent of the areas being audited.

## Auditors, whether chosen internally or contracted through external sources, shall be trained to this procedure.

# Procedure: Audit Preparation

## Prior to the audit, the auditor(s) shall review and prepare all sections of Form FM2-QM.SLQ017 Internal Quality Audit Checklist applicable to the audit.

### Alternative checklists may be used as long as they are pre-approved by QA management and cover all applicable sections of ISO 13485 and 21 CFR 820. Completed checklists shall be maintained in the audit file.

### The results of previous audits shall be considered in determining the scope of the audit. For example, verification that actions implemented to address findings of previous audits should be considered.

## The auditor(s) shall notify the department management of the area/quality system element to be audited, the scope of the audit, standards to be applied (FDA/ISO, etc.) and date(s) shall be agreed upon.

## The auditor(s) shall obtain the next available audit number from the Audit Log. Audit number consists of the last two digits of the current year followed by a dash and two sequential digits starting with YY-01 (e.g. 19-01 is the first audit held in the year 2019).

### QA is responsible for maintaining the Audit Log and issuing audit numbers.

# Procedure: Conducting the Audit

## An opening meeting shall be held to review with the department management, or designee, the areas to be audited.

## The audit shall be conducted using the applicable section(s) of the Internal Quality Audit Checklist, FM2-QM.SLQ017, or an alternative checklist pre-approved by QA management, as a basis to ensure appropriate areas are reviewed.

## Audit information may be typed directly into the form or hardcopies printed and information hand written in (in such cases, additional space may be added to each row to accommodate hand written entries).

## All questions from the applicable section(s) of the audit checklist shall be investigated and answered during the audit, as applicable.

## Items reviewed and evidence for any observations shall be documented. Record identification and revision of document(s) being reviewed. Audit observations will be in two categories:

### Finding

### Recommendation

## Findings require a documented response. Recommendations do not.

## Repeated findings, (i.e., findings the same as those found in previous audits) should be brought to Management’s attention at the closing meeting or in the final report.

## A daily debriefing may be conducted with the department management to discuss the outcome of that day’s activities including areas of excellence and any observations.

## Evidence collected during the audit that suggests an immediate and significant risk to customer and/or patient safety or product effectiveness; including non-compliance to established regulatory requirements and/or high risks to SILQ shall be reported without delay to the auditee as well as the executive management of the area being audited. In addition, QA management shall also be notified.

## A closing meeting shall be held to review with the department management, or designee, the outcome of the audit including areas of excellence and any findings and recommendations found during the audit.

# Procedure: Post Audit

## Approximately 5 business days after the completion of the audit, the auditor(s) shall provide a draft report, form FM3-QM.SLQ017, to the department management if findings were identified. Otherwise, the department management will be notified verbally or in writing of the absence of findings.

## All observations from the audit shall be communicated/discussed to ensure correct interpretation and to allow any open issues to be resolved prior to issuing the final audit report, FM3-QM.SLQ017.

## Auditors contracted through external resources may document the draft and final audit report using their own form/template with pre-approval by QA management.

## The auditor(s) shall then finalize the audit report and provide it to the department management within approximately 5 business days of resolving any discrepancies with the draft report.

### The final audit report shall include records of the audit and the results, including identification of the processes and areas audited and the conclusions.

### The final audit report shall be distributed to the manager(s) of areas audited, the QA management and Executive management.

## CAPA – Findings shall be entered into the CAPA system (QM.SLQ016) for resolution and tracking.

### The responsible department management shall complete all applicable sections of the CAPA report form (FM1-QM.SLQ016) and provide it to the auditor(s) approximately 10 business days of receipt of the final audit report. If corrective and/or preventive action is not completed when submitting the CAPA forms to the auditor, a projected date of completion shall be stated on the form. If there are long term actions necessary, dates shall be given for critical phases of the corrective and/or preventive action.

### Upon receipt from the department management, the auditor(s) shall review the corrective actions to ensure completeness and suitability of responses. If not satisfied with actions or dates, the auditor(s) shall discuss with the department management to revise the response. Note: If observations are found which may be of high risk to customers, patients, or SILQ, executive management has the authority to void all timeframes and enforce immediate corrective/preventive action.

### The auditor(s) shall work with department management to determine the criteria for the effectiveness check of the corrective actions and document on CAPA form.

## A Certificate of Internal Audit, Form FM4-QM.SLQ017, shall be completed, scanned, imported into FileHold, and filed with the associated internal audit documents.

# Procedure: Re-audit

## QA management may decide to re-audit an area and/or quality element based upon any of the following: severity of the risk generated by the observation, the confidence in the corrective/preventive actions, past audit history of the area/quality element, past history of product nonconformities related to the area/quality element, etc.

## Re-audits shall be conducted following all of the applicable sections of this procedure.

# Procedure: Internal Quality Audit Schedule

## On an annual basis, SILQ Quality Assurance shall develop the Internal Quality Audit Schedule, Form FM1-QM.SLQ017, such that the entire Quality Management System will be audited in a twelve-month period. The previous year’s audit results and metrics, CAPA, and any other regulatory requirements, shall also be reviewed to determine if any area or any quality system element needs to be given extra audit scrutiny for the upcoming year. The schedule shall be reviewed and approved by SILQ Quality Assurance (QA) Management and hardcopy file maintained.

### Hardcopy schedule shall be scanned and imported into appropriate Internal Audit folder within FileHold.

## The audit schedule shall be organized by quarters. The identified elements shall be audited within the designated quarter of the year. The audit schedule may be changed (and re-approved) as long as the entire Quality Management System is audited in a twelve-month period and the reason for the schedule change is documented.

## Quality Assurance may decide to audit areas/elements not due for audit should issues arise prior to their scheduled dates.

## Quality Assurance shall update the annual audit schedule form as audits are completed by entering the applicable audit completion date.

### When audit schedule is updated, Quality Assurance shall scan and import into appropriate Internal Audit folder within FileHold.

# Procedure: Internal Quality Audit Metrics

## Metrics for describing the effectiveness and functionality of this system shall be developed for disclosure to Executive Management as required in QM.SLQ018, Management Review SOP.

### The number of findings shall be reported.

### Time to closure of resulting CAPAs shall be reported.

### Adherence to the audit schedule shall be reported.

# Procedure: Internal Quality Audit Records

## All completed internal audit records (i.e., completed checklists, certificate of internal audit, additional notes, opening/closing meeting minutes [if applicable], final audit report and copies of any associated CAPAs) shall be filed in secure file storage by audit number and maintained in accordance with record retention policies defined in QM.SLQ001, Document Control SOP.

### Scan all completed internal audit records and import into FileHold; file within appropriate Internal Audit folder.