Management Review

Standard Operating Procedure

# Purpose

## The purpose of this procedure is to provide general guidelines for the activities and topics for review and discussion during Management Reviews with regards to assessing product quality and the effectiveness, suitability and adequacy of the Quality System to meet the objectives stated in the SILQ quality policy.

## To ensure the activities conducted during Management Review (MR) encompass and fulfill the FDA Quality System Regulation (QSR) and ISO 13485:2016 requirements for periodic Management Review of the Quality System.

## To document the process for communicating to the organization, the effectiveness, suitability and adequacy of the Quality Management System in accordance with ISO 13485:2016 section 5.5.3.

# Scope

## This procedure applies to the role of management with executive responsibility at SILQ in fulfilling the Management Responsibility and Internal Communication requirements as outlined in the SILQ Quality Manual.

### Management Review activities shall include review of all relevant data (CAPA’s, complaints, nonconformities, audits, customer feedback, etc.) that provide information on the quality of SILQ products and services, and from which potential corrective or preventive actions can be formulated and implemented.

### The activities include Management Review of the performance of the overall Quality System concerning its continuing effectiveness, suitability and adequacy.

# Documents

## Reference Documents

### QM.SLQ001	Document Control SOP

### QM.SLQ012	Risk Management Process

### QM.SLQ016	CAPA SOP

### QM.SLQ027	Quality Manual

### ISO 13485:2016	International Standards Organization – Medical Devices – Quality management systems – Requirements for regulatory purposes (section 5.6 – Management Review)

### 21 CFR 820	Quality System Regulation (820.20 – Management Responsibility)

## Appendices / Associated Forms / Templates

### FM1-QM.SLQ016	Corrective and Preventive Action Report Form

### FM1-QM.SLQ018	Management Review Meeting Minutes

# Definitions

## Abbreviations / Acronyms

### CAPA:  Corrective Action and Preventive Action

### MR:  Management Review

## General Definitions

### Associated Documents:  Documents or Forms which may be needed for completion of the activities defined within this procedure.

### FileHold:  Software based document management system used to electronically store controlled documents.

### Management with Executive Responsibility:  The senior employees of a manufacturer who have the authority to establish or make changes to the manufacturer’s quality policy and quality system.

### Notified Body:  Agency authorized by a European Competent Authority to act in their stead to insure organizations are compliant to the regulatory requirements of ISO 13485:2003 and the Medical Device Directive.

### Quality Objective: A measurable quality result that the organization intends to achieve. Quality objectives are based on or derived from the organization’s quality policy and must be consistent with it.

# Responsibilities

## Senior Management is responsible for reviewing the organization’s quality management system at planned intervals to ensure its continuing suitability, adequacy, and effectiveness.

## SILQ Management from each functional area (Quality Assurance, Regulatory, Manufacturing, R&D/Engineering, and Marketing) shall provide information relating to their individual areas of responsibility to the Management Representative for inclusion in the meeting presentation.

## The Quality Management Representative shall chair the Management Review (MR) meetings and is responsible for providing data and/or trend analysis of product complaints, product or manufacturing nonconformities, corrective and preventive action data, internal audits, and other quality related topics that affect the Quality System.  The Quality Management Representative is also responsible to communicate information to the organization regarding the suitability and effectiveness of the Quality Management System.

# Procedure

## Senior Management shall review the organization’s quality management system, at planned intervals, to ensure its continuing suitability, adequacy, and effectiveness.  This review shall include assessing opportunities for improvement and the need for changes to the quality management system, including the quality policy and quality objectives.

### At a minimum, Senior Management will hold meetings annually to review product quality and the effectiveness, suitability and adequacy of the Quality System to meet the company quality goals.  If serious quality issues arise, it may be necessary to meet more frequently.

### All Management Review activities must be planned and documented in meeting minutes, reports, or memos with copies filed as quality records.  The documentation from each MR meeting should include a statement on the conclusion of the effectiveness, suitability and adequacy of the Quality System.  All MR documentation shall become part of the Quality System records and shall be maintained in accordance with records retention policies.

## The Quality Management Representative shall schedule the MR meeting and notify the members.  Senior Management comprises the membership of the Management Review Committee.  A simple majority of Senior Management, including Management with Executive Responsibility, shall be required to hold a Management Review.

### Members of the Management Review Committee include:

#### Chief Executive Officer

#### R&D/Engineering Management

#### Manufacturing / Operations Management

#### Quality Assurance Management

## The following running agenda shall be addressed throughout the course of a calendar year although not all items need be reviewed at each meeting.  The agenda includes but is not limited to the following inputs:

### Review of minutes and action items from the previous Management Review (required at each meeting);

### Review of the Quality Policy;

### Review of quality objectives;

### Results, actions and status of internal audits, regulatory agency inspections and notified body audits;

### Status of the Corrective and Preventive Action System;

### Review of Product Complaint trends;

### Review of Production Data including nonconformities;

### Review of Training System performance;

### Post Market Surveillance / Customer Feedback;

### Review of reportings to regulatory authorities;

### Review of statistical techniques (sampling plans) used to evaluate the quality of components, materials and finished goods to assure continued applicability;

### Review of supplier performance;

### Changes that could affect the quality management system;

### Recommendations for improvement;

### New or revised standards and regulatory requirements;

### Review of Risk Management Activities;

### Review status of Design Control Activities; and

### Review of Resource Requirements and current staffing levels.

## Prior to the meeting, each MR member should compile appropriate data from their area of responsibility that may help assess the Quality System.  For example: The Quality Manager should compile and summarize CAPA, complaint data, nonconformity data, audit data and any other relevant data.  If there is sufficient data, graphs or charts should be developed to assist in review, analysis, and discussion of the effectiveness, suitability and adequacy of the Quality Management System.

## If a quality objective is not met, remedial action shall be determined and documented. If no action is taken, the justification for not taking any action shall be documented.

## The management review committee shall review new or revised standards and regulatory requirements to determine impact on the quality management system. Applicable new or revised standards shall be controlled in accordance with the Document Control SOP (QM.SLQ001).

## In the case of process control metrics from external contracting manufacturers and/or critical suppliers, data is to be acquired from all stages of the manufacturing process to ensure the results of incoming, in-process, and final acceptance activities are available for trending and review.

## Senior Management shall meet to review and analyze appropriate data to assess the effectiveness, suitability and adequacy of products, processes, and the overall Quality System.

## Review output:  The output from the Management Review shall include any decisions and actions related to:

### Improvements needed to maintain the effectiveness, suitability and adequacy of the quality management system and its processes;

### Improvement of product related to customer requirements;

### Changes needed to respond to applicable new or revised regulatory requirements;

### Resource needs; and

### Quality objectives established.

## Management Review output is documented in FM1-QM.SLQ018 Management Review Meeting Minutes form.

## For the purpose of providing a measurable assessment of the effectiveness, suitability and adequacy of the quality system, customer product complaints provide reliable feedback that can be quantified.

## Feedback obtained from post-market surveillance and data gathered from production and post-production activities serve as potential input into risk management for monitoring and maintaining the product requirements as well as the product realization or improvement processes.

## If deemed necessary, Senior Management shall develop action plans, and assign resources to investigate and resolve corrective or preventive actions identified by the MR.

## Prior to adjournment of the MR meeting, the approximate date of the next meeting shall be scheduled.

## Internal Communication

### Within 30 days following each management review meeting, the Management Representative will hold a meeting with all employees to communicate the results of the Management Review meeting as it relates to the effectiveness, suitability and adequacy of the Quality Management System.  This meeting may also review other pertinent quality and regulatory information relevant to the company and its operations.

# Procedure: Records/Documentation

## The Management Representative will maintain agendas and minutes of the MR meeting.

## The records of the MR meetings are company confidential and shall not be given to the FDA.  A member of Executive Management may certify in writing to the FDA inspector that SILQ has complied with the Management Review requirement of §820.20(c) and ISO 13485:2016 Section 5.6.

## Copies of the material presented to the organization as required by Section 6 above will be retained as documented evidence that such communication is occurring.

## Management Representative will scan and import all MR records into appropriate FileHold folder(s).