Purchasing Controls

Standard Operating Procedure

# Purpose

## The purpose of this standard operating procedure is to define the requirements for purchasing of products and services that may impact either the final product or the quality system.  The purchasing process described in this procedure ensures that all applicable products and services are purchased in accordance with specified requirements.

## This standard operating procedure also defines the requirements for qualifying suppliers and purchasing materials for use on research and development projects and defines the required activities for the transfer of R&D materials for use in manufacturing and clinical trials.

# Scope

## The following procedure applies to all products and services purchased by SILQ that impact either the final product or the quality system.  This includes, but is not limited to:  manufacturing materials, raw materials, components, subassemblies, consigned product, testing services, calibration services, sterilization services, and other services providers that could impact the regulatory status or quality compliance of SILQ.

## This procedure does not apply to purchasing of general supplies such as office supplies or items.

## This procedure applies to all manufacturing materials, raw materials, components, assemblies, and commercial products purchased by SILQ for research and development (R&D) purposes and, if applicable, those R&D items that are to be transferred for use in manufacturing of commercial product or in clinical/investigational trials with human patients.

# Documents

## Reference Documents

### QM.SLQ001		Document Control SOP

### QM.SLQ015		Supplier Quality Assurance SOP

### QM.SLQ039		Receiving Inspection SOP

### ISO 13485:2016 	International Standards Organization – Medical Devices – Quality Management Systems (section 7.4 – Purchasing)

### 21 CFR 820 		Quality System Regulation (820.50 – Purchasing Controls)

## Appendices / Associated Forms / Templates

### FM1-QM.SLQ020	Purchase Order Form

# Definitions

## Abbreviations / Acronyms

### ASL:  Approved Supplier List

### COA: Certificate of Analysis

### COC: Certificate of Conformance

### P.O.:  Purchase Order

## General Definitions

### Component: any material, substance, piece, part, software, firmware, labeling, or assembly, which is intended to be included in the finished, packaged, and labeled device.

### Contract:  a legally binding agreement involving two or more parties for the purpose of securing products, services or information.

### Fabricated Product:  Custom-manufactured raw materials, components, manufacturing materials, in-process devices, final product which are not available as an off-the-shelf item.

### FileHold:  Software based document management system used to electronically store controlled documents.

### Manufacturing material: any material or substance used in or used to facilitate the manufacturing process, a concomitant constituent, or a byproduct constituent produced during the manufacturing process, which is present in or on the final product as a residue or impurity not by design or intent of the manufacturer.

### Operating Supplies:  Product or materials that are not used in or used to facilitate the manufacturing process and are not in or on the final product, however are essential to the manufacturing processes and environmental controls such as filters, water separators, lubricants, etc.

### Product:  components, manufacturing materials, in-process devices, final product, and returned final product.

### Purchase Order:  a document issued by a SILQ to a seller (supplier), indicating types, quantities, and agreed prices for products or services the seller will provide to SILQ. It is used to control the purchasing of products and services from external suppliers.   Issuing a purchase order to a supplier constitutes a legal offer to buy products or services. Acceptance of a purchase order by a seller usually forms a contract between SILQ and seller, so no contract exists until the purchase order is accepted.

### Receiving Inspection:  the inspection and acceptance or rejection of all incoming product.

### Specification: any requirement with which a product, process, service or other activity must conform.

### Supplier:  A manufacturer, custom fabricator, or distributor that provides purchased product.

# Responsibilities

## It is the responsibility of authorized purchasing personnel to purchase items in accordance with this procedure, to close out purchase orders, and to maintain purchasing records.

## It is the responsibility of authorized personnel to instruct purchasing personnel on item(s) to be purchased and the date item(s) must be received.

## It is the responsibility of R&D/Engineering and Manufacturing management to ensure that the requirements of Section 9 of this procedure are met prior to utilizing a supplier and purchasing materials for a research and development project.

## Quality Assurance is responsible for ensuring compliance with the purchasing process.

# Procedure: Qualification of Suppliers, Contractors and Consultants

## Suppliers, contractors and consultants are to be evaluated, qualified and added to or disqualified and removed from the Approved Supplier List (ASL) in accordance with QM.SLQ015 Supplier Quality Assurance SOP.

## The type and extent of control and on-going management are defined and determined in accordance with QM.SLQ015 Supplier Quality Assurance SOP.

# Procedure: Purchasing

## Purchase Orders (P.O.) constitute a contract between SILQ and a supplier, contractor or consultant and may be issued only by authorized purchasing personnel, with department specific approvals as described in this procedure.

## Contracts (not including P.O.’s) and Supplier Agreements are to be reviewed and approved by Manufacturing management or designated representative prior to purchasing of products and/or services.

### Contracts and Supplier Agreements shall include, as appropriate:

#### Requirements for 	product acceptance, procedures, processes and equipment;

#### Requirements for qualification of supplier personnel; and

#### Quality management system requirements.

## Contracts, Supplier Agreements, and Purchase Orders shall include, wherever possible, that SILQ be notified of any changes made to the product and/or service prior to those changes becoming effective so that SILQ can determine the impact of changes to the quality of the final product or quality system.

## All purchasing information is to be managed and maintained in an organized manual system. A suggested SILQ Purchase Order form is provided in FM1-QM.SLQ020.

### P.O.’s should include the following information:  P.O. number, P.O. date, SILQ address and contact information, supplier name, supplier address, supplier contact name, ship to address, ship to contact, preferred shipping method and account number, required date, purchase order details (part number, description, revision, quantity, cost), overall order total cost, applicable notes, P.O. approver signature and date.  Additional information can be added as needed.

### Completed purchase orders are to be scanned and imported into the appropriate Purchasing folder within FileHold.

## The purchasing designee is to maintain a purchasing log (P.O. Log) which is to include but is not limited to: P.O. number, date, supplier/vendor name and identification (if applicable), target delivery date, and overall cost information.

## The P.O. Log is archived on a secure network server.

## Products and services are only to be purchased from suppliers, contractors and consultants listed on the Approved Supplier List (ASL) and only for those product and service types for which they have been qualified (as specified on the ASL).

### For new suppliers not yet listed on the ASL, the purchasing process of products may proceed; however, the receipt and release of the product will be performed in accordance with QM.SLQ015 Supplier Quality Assurance SOP.

## Purchasing of products must be in accordance with released, document controlled product specifications (i.e., engineering drawing, source control drawing, etc.).

### Obtain current revision of released product specification to ensure requirements are correctly translated onto P.O.

## Purchase Quotes and P.O.’s are to clearly define the supplier, the product being purchased, the price per unit of measure and the quantity being purchased.

### For fabricated product, the controlled document number and revision of the product specification must be referenced on the Purchase Quotes and P.O.

#### A copy of the released specification document is to be provided to the supplier when the P.O. is issued.

### For off-the-shelf product, the supplier catalog number may be used in place of the SILQ controlled document number.

### Quality requirements and/or requirements for any manufacturing test data as indicated on the product specification including but not limited to raw material certification, performance data, certificate of conformance, etc. must be referenced on the Purchase Quotes and P.O.

### Any requirement for inspection or verification of product at the supplier’s premises must be referenced on the Purchase Quotes and P.O.

## All P.O.’s must be approved by the appropriate department management.

### All purchases orders for items requiring calibration and/or calibration services should include the following:

#### Calibration requirements / specifications

#### The following (or equivalent) statement: ‘Calibration to be performed with NIST Traceability / Certification and in accordance with ISO 17025 or ANSI Z540 quality system requirements for calibration laboratories’

# Procedure: Closing Purchase Orders

## The purchasing designee is responsible for closing purchase orders.

### Appropriate supporting documentation (e.g., COA/COC, receiving inspection form, packing slip, calibration certificate, etc.) is to be referenced or attached to purchase order.

## Once it has been confirmed that the purchase order has been fulfilled, the purchase order can be closed. Purchasing designee signs and dates purchase order in appropriate section.

### Closed purchase order is checked in to FileHold.

### Purchase order log is checked out of FileHold, updated with closure information and checked back in to FileHold.

# Procedure: Purchasing and transfer of R&D materials

## Qualification of Material Suppliers for R&D Projects

### All materials for use in R&D projects may be purchased, at the discretion of R&D/Engineering management, from any supplier without any of the requirements listed in Section 6.

### If any materials purchased for use in R&D projects are to be transferred to manufacturing for use in product in clinical trial with human patients or for use in product destined for sale, the following must be met:

#### For Clinical Trial Units: Prior to transfer of any materials, components, or assemblies for use on human patients in clinical trials, suppliers of all components must meet the requirements for a manufacturing supplier as defined in the QM.SLQ015, Supplier Qualification Assurance SOP.  If a supplier cannot meet the requirements listed in QM.SLQ015, Supplier Qualification Assurance SOP, a formal plan to ensure the quality of clinical trial units for safety and efficacy must be issued by Quality Assurance and approved by management at SILQ.  The plan must be referenced on the ASL for the designated supplier.

#### For Product Destined for Sale: Prior to transfer of any materials, components, or assemblies into manufacturing inventory, all manufacturing supplier qualification requirements defined in QM.SLQ015, Supplier Qualification Assurance SOP must be met. If a supplier cannot meet the requirements defined in QM.SLQ015, Supplier Qualification Assurance SOP then materials, components, or assemblies from that supplier cannot be used to manufacture product for sale.

## Receiving Inspection Activities for R&D Materials

### R&D materials do not have to be subjected to receiving inspection as defined in Section 10 prior to use in R&D projects.

#### If the materials will be used in any formal testing activities (i.e. verification, validation, or clinical trials), the R&D/Engineering personnel receiving the materials must retain the following information (Note: This information is designed to provide traceability to the configuration of the material):

##### Purchase Order and Invoice

##### Supplier Name

##### Supplier Part Number

##### Supplier Lot Number (if available)

##### Material or Part Specifications (for fabricated product only)

### It is recommended that when specifications are complete / released, the receiving inspection process be utilized to determine and document conformance to specification of R&D materials.

## Transfer of R&D Materials for use in Investigational/Clinical Trials

### Prior to transfer of R&D materials for use with human patients in clinical or investigational trials, the following requirements must be met:

#### The supplier must be qualified per approved supplier qualification procedures in accordance with Section 9.1.2.1.

#### The material must have a released, controlled document specification.

#### The material must be verified to meet the defined specifications.

## Transfer of R&D Materials into Manufacturing Stock Inventory

### Prior to transfer of R&D materials into manufacturing stock inventory, the following requirements must be met:

#### The supplier must be qualified per approved supplier qualification procedures in accordance with Section 9.1.2.2.

#### The material must have a released, controlled document specification.

#### The material must be routed through receiving inspection and successfully pass defined inspection criteria per the released specifications.

# Procedure: Receiving Inspection

## Receiving inspection shall be performed on purchased product in accordance with the Receiving Inspection SOP QM.SLQ039.

# Procedure: Purchasing Records

## All records and applicable documentation (with the exception of R&D materials as described in Section 9) are to be maintained in accordance with record retention policies defined in QM.SLQ001, Document Control SOP and located in secure file storage.

### Import all completed purchasing records into FileHold; file within appropriate Purchasing folder.