Quality Planning

Standard Operating Procedure

# Purpose

## The purpose of this procedure is to ensure quality plans which define the quality practices, resources, and activities relevant to the design and manufacture of medical devices are established.

## SILQ shall establish how the requirements for quality will be met; including the responsibilities and requirements for quality planning.

# Scope

## This procedure shall apply to all projects, products, processes and contracts, as appropriate; including those covering contractual relationships, including other critical outsourced processes.

# Documents

## Reference Documents

### QM.SLQ004 	Design Control Program

### QM.SLQ015	Supplier QA

### QM.SLQ016	CAPA

### QM.SLQ017	Internal Audits

### QM.SLQ018	Management Review

### QM.SLQ027	Quality Manual

## Appendices / Associated Forms / Templates

### N/A

# Definitions

## Abbreviations / Acronyms

### MER:  Management with Executive Responsibility

## General Definitions

### Quality Plan:  Documented plan that defines the quality practices, resources and activities required to design, develop and manufacture products.

### Project Plan:  Documented plan that identifies the sequence of tasks, responsibilities and timelines for a project.

# Responsibilities

## Management with Executive Responsibility (MER) shall ensure that the planning of the quality management system is carried out to meet the requirements of the Quality Management System identified in QM.SLQ027 Quality Manual and that the integrity of the quality system is maintained when changes to the system are planned and implemented.

## Management with Executive Responsibility (MER) shall ensure that quality objectives, including those needed to meet product requirements, are established at relevant functions and levels within the organization. The quality objectives shall be measurable and consistent with the organization quality policy.

# Procedure

## The organization shall plan and develop processes needed for product development and manufacture. Planning of product development and manufacture shall be consistent with the requirements of the other established processes of the quality system. Quality plans are typically an output of established quality system processes. In planning product development, the organization shall determine the following, as appropriate:

## Requirements that are specified by the customer, this includes requirements for delivery and post-delivery activities;

## Requirements, although not stated by the customer, that are necessary for the specified or intended use;

## Applicable regulatory requirements that are related to the product;

## Any user training needed to ensure specified performance and safe use of the medical device;

## Specifications, requirements and quality objectives for the product;

## The need to establish documents, processes and resources specific to the product, including infrastructure and work environment;

## Required verification, validation, monitoring, measurement inspection and test, handling, storage, distribution, and traceability activities specific to the product;

## Criteria for product acceptance; and

## Records needed to provide evidence that the development processes and resulting product meet established requirements.

## The output (e.g., product documents, procedures, etc.) of this planning shall be documented in a format suitable for the organization’s method of operations.

## The organization shall establish documented procedures (reference QM.SLQ004 Design Control Program) for design and development processes including:

## The design and development stages;

## The review, verification, validation and design transfer activities at each stage; and

## The responsibilities and authorities.

## Where appropriate, quality plans shall be developed that define the quality practices, resources and activities required to design and manufacture products. Quality plans shall also be developed and implemented for significant projects such as procurement of alternate critical suppliers, significant changes in raw materials and in SILQ’s quality system.

## Quality plans shall also include corrective and preventive action plans, audit plans, training plans and other documented procedures that form an integral part of the quality system, as appropriate.

## Quality planning activities may be initiated for the following (includes but not limited to):

## Changes to the quality system;

## Identification of products that meet customer needs;

## Approval process for design changes/feasibility;

## Identification of suitable verification and validation at appropriate stages in the development of product;

## Identification and acquisition of any facilities, resources and skills that may be needed to achieve required quality;

## Review of product transfer processes, inspection and test procedures and applicable documentation;

## Review and/or updates to quality control, inspection and testing techniques, including the development of new instrumentation;

## Review and/or updates to risk management processes, including the identification of new risks, updates to risks and mitigation of risks;

## Clarification of standards of acceptability for all feature and requirements, including those which contain a subjective element;

## Identification of training requirements;

## Identification and preparation of relevant quality records;

## Preparation activities for internal/external assessments (QM.SLQ017 Internal Audits and QM.SLQ015 Supplier QA)

## Identification of feedback mechanisms for continuous quality improvement (QM.SLQ016 CAPA).

## The organization shall plan and implement the monitoring, measurement, analysis and improvement processes needed:

## To demonstrate conformity of the quality system;

## To ensure conformity of the product; and

## To maintain effectiveness of the quality system.