Managing Regulatory Inspections

Standard Operating Procedure

# Purpose

## The purpose of this standard operating procedure is to define the responsibilities, scope, and actions to be taken by company personnel during inspections conducted by Regulatory Bodies (U.S. Food and Drug Administration (FDA), Notified Bodies relating to SILQ product quality and manufacturing.

# Scope

## This procedure applies to inspections conducted at the SILQ main headquarters in Sunny Isles Beach, Florida, USA.

## This procedure applies to both scheduled and unannounced audits and inspections from regulatory bodies that have jurisdiction over SILQ operations and products.

# Documents

## Reference Documents

### QM.SLQ001		Document Control SOP

### QM.SLQ016		Corrective and Preventive Actions SOP

### ISO 13485:2016 	International Standards Organization – Quality Systems – Medical Devices – Quality Management Systems - Requirements for Regulatory Purposes

### 21 CFR 820 		FDA Quality System Regulation

## Appendices / Associated Forms / Templates

### N/A

# Definitions

## Abbreviations / Acronyms

### CAPA: Corrective Action and Preventive Action

### CEO: Chief Executive Officer

### FDA:  United States Food and Drug Administration

### ISO: International Organization for Standardization

### QA:  Quality Assurance

### QSR:  Quality System Regulation (FDA)

### SOP:  Standard Operating Procedure

### VP: Vice President

## General Definitions

### Corrective Action:  Action(s) taken to correct a finding or observation.

### FileHold: Software based document management system used to electronically store controlled documents.

### Preventive Action: Measures taken to eliminate potential nonconformities or deficiencies thus preventing a problem before it occurs.

### Quality System: Organizational structure, procedures, processes, and resources needed to ensure that products and services are manufactured and performed in accordance to the quality system, customer and regulatory requirements

# Responsibilities:

## It is the responsibility of SILQ Senior Management to ensure this procedure is executed as documented and that any corrective or preventive actions required as a result of the audits or inspections are taken in a timely manner and verified as effective.

## SILQ Senior Management appoints a designee as inspection coordinator and can appoint an alternate designee if the primary designee is not available.

### The default inspection coordinator is the VP of Quality Assurance, followed by the Director of Quality Assurance.

## The appointed inspection coordinator ensures that the requirements of the reference standards and the company procedures and policies regarding regulatory agency inspections are known and understood throughout the organization.

## The person greeting the representative requests their name(s), title(s) and credentials, and then asks the representative(s) to be seated in the waiting area until the inspection coordinator is notified of the arrival.

# Procedure

## Investigators must be accompanied at all times by a SILQ employee.

## Recording Equipment

### Video, audio, photographic, or other recording equipment is not allowed to be used in the facility by regulatory agencies.  If a representative insists on using such equipment, they will be advised of the policy.  If necessary, legal counsel will be contacted.

### Should the request for recording equipment be granted by SILQ, an identical set of the recorded media (e.g. photograph, audio or video tapes) must be provided to SILQ.  Copies should be stamped “CONFIDENTIAL”.

## Copies of Documents and Records

### Copies of documents or other records provided to the investigator are to be stamped “CONFIDENTIAL”.  Controlled documents and quality records may also be stamped as “reference” or “uncontrolled”.

### A duplicate of all information given to the representative is retained by SILQ.

#### The inspection coordinator may choose to record the specific documents or records provided to the investigator.

## The following information is not provided to the FDA, as it is not within the FDA authority to inspect:

### Financial data

### Sales data other than shipping records

### Pricing information

### Personnel information other than information regarding the qualifications and training of technical and professional personnel performing functions subject to the Federal Food, Drug, and Cosmetic Act.

### Reports and records resulting from internal audits, other than written audit procedures and certifications that internal audits have been performed, documented, and corrective action taken.

### Management review minutes (certification in the form of a meeting minutes coversheet will be provided).

## Device Samples

### Sample devices or components may be provided to the FDA inspector upon request.

### Defective devices/components are not provided to an investigator.

### The inspection coordinator should retain a duplicate or sample product from the same manufacturing lot of any sample given to the investigator.

### Request that the investigator issue a Receipt for Samples (FDA 484).  The inspection coordinator examines the Receipt for completeness and accuracy (part number, lot number, quantity).  The Receipt for Samples is NOT signed by any SILQ representative.

### Request that a copy of any analysis performed by the FDA on the sample be provided to SILQ.

## All questions should be addressed to the inspection coordinator, who shall answer the questions or determine the appropriate person to respond.

## Acknowledging and Signing FDA Documents

### Affidavits and other forms will not be acknowledged or signed.  The Receipt for Samples may be acknowledged and reviewed for accuracy and completeness.

## Inspection/Audit Process

### Receiving the inspector

#### Inspectors are only to be received during normal business hours.  Normal business hours are Monday through Friday (excluding holidays), 10:00am to 7:00pm EST.

#### Upon arrival of the inspector, the administrative assistant will escort the inspector to an empty conference room and inform any SILQ personnel onsite of their presence.

#### If no SILQ personnel is onsite, the administrative assistant will provide the inspector access to a telephone and WiFi.

#### The administrative assistant will notify Executive Management and Quality Assurance management of the arrival of the inspector.

#### The administrative assistant will contact SILQ Quality Assurance management in the contact list below until someone is reached. The administrative assistant will provide the contact information of the first available SILQ representative to the inspector.

#### VP of Quality Assurance: 
Stephen Page (401) 862 2236

#### Director of Quality Assurance: 
Ethan Rao (508) 250 8424

#### The designated inspection coordinator, if onsite, will proceed with the audit according to this procedure.

#### If the inspection coordinator is at a remote location, they will proceed with audit via a conference call in the conference room with the inspector(s).

##### As needed, the inspection coordinator will make arrangements to be onsite for the inspection.

#### Upon greeting the inspector in person or over the phone, if not already provided for a scheduled audit, the inspection coordinator in the case of unannounced audits will obtain the following information:

#### Name of the inspector, title, and credentials (badge number and expiration date)

#### Name of the agency, address, and telephone number

#### Written notification of inspection (Form 482 if an FDA inspection), if appropriate

#### Purpose of inspection

#### Expected scope and duration of the inspection

### Conducting the inspection/audit

#### The inspection coordinator will keep detailed notes of the investigation including dates and times, key answers and questions, inspector comments or suggestions for correcting any deficiencies of changes in company policies and procedures, areas and equipment visited, documents requested and examined, and documents and samples collected by the investigator.

#### A record will be kept of all documents the inspector sees.  Duplicates of all documents and samples collected will be retained.

##### Records will be shared with inspector directly or via secure file sharing (e.g., Dropbox).

##### A folder share link is to be provided to the inspector through their email address.

#### Immediate corrective actions are taken when possible, which are subsequently reported to the representative for notation in their report.

#### If applicable, regulatory and/or legal counsel is contacted to discuss any issues, which arise during the inspection that may require their expertise.

#### At the end of each day, attempt to discuss with the investigator the agenda for the following day and any documents which need to be available.

#### A debriefing meeting with appropriate personnel should be conducted at the end of each day, recapping and planning and required corrective or preventative action and to discuss inspection activities for the following day.

#### At the conclusion of the inspection, an exit meeting is conducted, which includes the agency representative and other appropriate personnel.  In the case of the FDA, if a 483 or other type of inspection report is issued, discuss each item to assure proper interpretation, and raise and resolve any issues of disagreement.

### Post-Inspection

#### The inspection coordinator, or designee, prepares complete files of the inspection which include:

##### Notes of inspection and exit meeting, including investigators comments, suggestions, cited deficiencies, and violations

##### Duplicates of documents and samples collected by the investigator

##### Copies of reports or forms (e.g., FDA 482, FDA 483, and FDA 484, documents provided by Notified Bodies)

##### Copies of analyses on sample devices/components collected

##### Corrective/Preventative Action Plan

##### Communications and correspondence with the regulatory agency

#### A Corrective Action Plan is developed by the inspection coordinator, in response to any report, as applicable in accordance with QM.SLQ016 Corrective and Preventive Action SOP.

#### The Corrective Action Plan includes an outline of each observation, specific corrective and preventive actions, and schedule for completion.  Also included may be a discussion of any observation with which the company disagrees.

#### The Corrective Action Plan shall be reviewed and approved by SILQ Executive Management, and if deemed appropriate, regulatory and/or legal counsel.

#### The Corrective Action Plan should be submitted to the regulatory body within 30 days of the issuance of the report or sooner as required by the regulatory body.

#### If an FDA warning letter is received, a corrective action plan will be developed and submitted to the FDA within 15 days of receipt of the warning letter.  Responses of this type must be approved by the SILQ Executive Management and regulatory and/or legal counsel as required.  If unable to meet the 15-day requirement, a request for an extension is filed with the FDA.

# Records Retention

## All records and applicable documentation are filed and maintained by Quality Assurance as a Quality record in accordance with record retention policies defined in QM.SLQ001, Document Control SOP.

### Records are to be scanned and imported into FileHold and filed within appropriate folder.