Device Master Record

Standard Operating Procedure

# Purpose

## The purpose of this procedure is to define the requirements for establishing and documenting device master records for each type of device.

## The device master record (DMR) is an output / deliverable of the design control process for new product launch.  Prior to manufacture of a new product intended for commercial sale, an approved DMR is required.

# Scope

## This procedure applies to all products manufactured by SILQ.

## SILQ is the owner of the device master record for each of their products. In the case of manufacturing activities (e.g., assembly, packaging, labeling, and sterilization) outsourced to contract manufacturing organizations (CMO), the DMR for such activities will be the responsibility of the CMO.  The CMO will hold the relevant DMR and procedures governing outsourced manufacturing activities will be controlled in accordance with the internal procedures of the CMO. These requirements and responsibilities are defined in the quality agreements established between SILQ and the CMO and compliance is verified through SILQ’s supplier monitoring process.

# Documents

## Reference Documents

### QM.SLQ001		Document Control SOP

### QM.SLQ027		Quality Manual

# Definitions

## General Definitions

### Device History Record (DHR):  Compilation of records containing the production history of a finished assembly, product or device.

### Device Master Record (DMR):  The compilation of all the instructions, drawings and other documents required to produce a completed product.

### FileHold:  Software based document management system used to electronically store controlled documents.

# Responsibilities

## R&D/Engineering and Manufacturing are responsible for developing a device master record for each product.

## Quality Assurance is responsible for maintaining the device master record of each product.

# Procedure

## The DMR includes or references the location of documents providing the procedures, processes and specifications for product manufacture. This includes linkage to relevant quality management system processes relating to the design, production, test and release of product.  The DMR may be represented in the form of an index (e.g., Device Master Record Index). The DMR for each type of product shall include the following information:

### Device specifications including the appropriate:

- Drawings

- Composition

- Formulation

- Component specifications

### Production specifications including the appropriate:

- Equipment specifications

- Production methods

- Production procedures

- Production environment specifications

### Quality assurance procedures and specifications including:

- Acceptance criteria

- Quality assurance equipment to be used

### Packaging and labeling specifications including:

- Methods used

- Processes used

## Records

### The current DMRI and the history of revisions are maintained in FileHold and may be revised in accordance with the document control procedure.

### Reference QM.SLQ001 Document Control for record storage and retention requirements as it relates to the device master records.