| DHR Review and Approval Form |  |  |  |
| --- | --- | --- | --- |
| Product Batch / Lot Number: |  |  |  |
| Part Number: |  |  |  |
| Part Revision: |  |  |  |
| Part Description: |  |  |  |
| Additional Reference Number(s): |  |  |  |
| Product Released For: (Check all fields that apply: | Internal Use only (non-human) Investigational Use only Commercial Distribution |  |  |
| Review and Approval Criteria |  |  | Results |
| Good Documentation Practices: All required fields are completed on all forms in the DHR. All corrections are made according to good documentation practices and initialed and dated. |  |  | Pass Fail N/A |
| Employee Identification and Dates: Signature and date are present on each DHR form. Initials and date are present on each required line of DHR Form. |  |  | Pass Fail N/A |
| Quantities and Manufacturing Dates: Quantity of product listed on all DHR forms in total matches quantity requested on manufacturing request and DHR contains manufacturing dates. |  |  | Pass Fail N/A |
| Lot Numbers: Lot Number for finished product is documented in the DHR and on this DHR Release Form. Lot Number is present on all traveler forms and on this DHR Review form. |  |  | Pass Fail N/A |
| Material Traceability: Lot / Batch numbers and expiration dates of raw materials and components used in the build of the final product are documented and completed as required in the DHR. |  |  | Pass Fail N/A |
| Non-Conforming Material and Rework: Any non-conforming material associated with the finished product has been appropriately referenced, documented, dispositioned, and/or reworked as appropriate. |  |  | Pass Fail N/A |
| Product or Procedure Deviations: Deviations to any element of the DMR are approved, released, and included in the DHR. |  |  | Pass Fail N/A |
| Final Inspection and Testing: Documentation for final inspection and/or testing is complete and results are in compliance with the defined acceptance criteria. All documentation has been included with the DHR. |  |  | Pass Fail N/A |
| Product Labeling: Copies of product labeling has been included with the DHR and all labeling content has been verified to be correct and complete. |  |  | Pass Fail N/A |
| DHR Review Results: PASS FAIL |  |  |  |
| Quantity Released: |  |  |  |
| Additional Information: |  |  |  |
| DHR Review and Approval By: |  | Date: |  |