# General Production Information

| Work Order #: |  | NCMR #: |  |
| --- | --- | --- | --- |
| Part Number: | C.SLQ001 | Manufacture & Expiration Date: | Mfg date: Exp date: |
| Part Revision: |  | Batch / Lot #: |  |

# Supplies Traceability

| Part Number | Description | Part Revision | Lot / Batch # |
| --- | --- | --- | --- |
| S.SLQ005 | pH Strip |  |  |
| S.SLQ006 | Deuterium oxide |  |  |

# Equipment Traceability

| Part Number | Description | Equipment ID | Calibration Due Date |
| --- | --- | --- | --- |
| E.SLQ013 | Weighing scale |  |  |

# QC Data

| ## Sample Tube | ## Weight Empty (g) | ## Weight with Residue (g) | ## Residue Net Weight (g) | ## Suspension Sample Concentration (g/L) |
| --- | --- | --- | --- | --- |
| ## Sample A1 |  |  |  |  |
| ## Sample A2 |  |  |  |  |
| ## Sample B1 |  |  |  |  |
| ## Sample B2 |  |  |  |  |
| ## Sample C1 |  |  |  |  |
| ## Sample C2 |  |  |  |  |

## Average Suspension Sample Concentration (g/L): _______________

| ## Sample Tube | ## Weight Empty (g) | ## Weight with Sample suspended (g) | ## Weight with Residue on Evaporation (g) | ## Residue on Evaporation (%) |
| --- | --- | --- | --- | --- |
| ## Suspension Test Sample |  |  |  |  |
| ## Residue on Evaporation Sample |  |  |  |  |

## Summary of Results

| ## Attribute | ## Result | ## Acceptance criteria | ## Meets Criteria? (circle one) |
| --- | --- | --- | --- |
| ## Appearance (color) |  | ## Opaque white | ## Yes No |
| ## Appearance (form) |  | ## Inviscid liquid | ## Yes No |
| ## Residue on Evaporation |  | ## 0.5% – 1.5% | ## Yes No |
| ## pH |  | ## 5 – 8 | ## Yes No |
| ## 1H NMR | ## Attach 1H NMR spectra | ## Identify Peaks with Amplitude >5% of Solvent Peak (4.75ppm) | ## Yes No |
| ## 19F NMR | ## Attach 19F NMR spectra | ## Identify Peaks, if there is a peak at -76ppm determine approximate amplitude relative to peaks at -140ppm and -150ppm | ## Yes No |

## Report completed by:

## ________________________________	__________________________________________________	_____________________
Print name			Signature					Date

## Report reviewed by:

## ________________________________	__________________________________________________	_____________________
Print name			Signature					Date