# Clinical Transfer Checklist Template

The following table lists requirements for the necessary documents and deliverables to be completed prior to release of product for use in clinical trials.  Each item should be reviewed for completion and any observation(s) or action item(s) identified.

| Item | Requirement | Associated Document No. | Complete? Yes/No | Observation(s) / Action item(s) | Verified By / Date |
| --- | --- | --- | --- | --- | --- |
| Design Control - the following are a list of design control requirements to ensure the product was designed, developed, and tested to ensure safety and performance of the product. |  |  |  |  |  |
| 1 | Design Project Plan- a design control project plan for the <Product Name> has been completed and is up to date. |  | Yes No N/A |  |  |
| 2 | Design Review- review meetings have been performed to ensure that all deliverables listed in the project plan have been completed and minutes are available for all specified phase and design reviews. |  | Yes No N/A |  |  |
| 3 | Device Master Record (DMR)- a DMR structure or index has been released with a list of all approved specifications and related manufacturing and assembly work instructions; The DMR is representative of the configuration used in Design V&V. |  | Yes No N/A |  |  |
| 4 | Design Validation- validation activities have been performed on the <Product Name> and its components to validate proper function and performance of the product design. |  | Yes No N/A |  |  |
| 5 | Sterilization Validation- the sterilization configuration and cycle has been validated to provide sterile product according to standards identified in the product requirements. |  | Yes No N/A |  |  |
| 6 | Packaging Validation- the specified packaging for sterile product has been validated to meet the criteria listed in the standards specified in the product requirements. |  | Yes No N/A |  |  |
| 7 | Shelf-life Validation- sterile packaging have been subject to accelerated aging and tested to verify function for the specified period. |  | Yes No N/A |  |  |
| 8 | Software Validation- the current software release to be used in the clinical trial has been subject to software validation to verify the software product meets all requirements defined in the SRS. |  | Yes No N/A |  |  |
| 9 | Risk Management File- risk management activities have been performed to identify and mitigate risk/hazards of the product design and application. |  | Yes No N/A |  |  |
| Labeling - the following are labeling requirements for the investigational device |  |  |  |  |  |
| 10 | Product labels contain: - Name and place of business of the manufacturer, packer, or distributor - Description of all relevant contraindications, hazards, adverse effects, interfering substances or devices, warnings, and precautions - The statements: ‘Investigation Device’ and ‘For Clinical Trial Use Only’ or equivalent statements per country specific requirements. - Expiration Dates and Lot Numbers |  | Yes No N/A |  |  |
| 11 | Labeling does not bear any statement that is false or misleading in any particular and does not represent that the device is safe or effective for the purposes for which it is being investigated. |  | Yes No N/A |  |  |
| 12 | IFU or User Manual for the investigational device to be used in the clinical trial has been completed and is available. |  | Yes No N/A |  |  |
| 13 | For OUS studies, outer shipping container and shipping documentation are labeled with ‘For Export Only’. |  | Yes No N/A |  |  |
| Investigation Device Production (DHR Review) – the following are production requirements for the investigational device to be used in the clinical trial. |  |  |  |  |  |
| 14 | An executed DHR release and review for components of the <Product Name> (record all applicable production lot numbers). |  | Yes No N/A |  |  |
| 15 | DHR Review confirms any build deviations from the current BOM or approved manufacturing procedures have acceptable justification and been properly documented. |  | Yes No N/A |  |  |
| 16 | Investigational devices or primary packaging bears investigational device labels as described above. |  | Yes No N/A |  |  |
| Clinical Documentation and Regulatory Approvals – the following are the clinical documentation and regulatory requirements for the investigational device to be used in the clinical trial. |  |  |  |  |  |
| 17 | Clinical Documents Approvals – required clinical documentation approvals have been obtained for clinical study. |  | Yes No N/A |  |  |
| 18 | Regulatory Approvals – required regulatory approvals / clearances have been obtained for the applicable countries for clinical study. |  | Yes No N/A |  |  |

Approval indicates that the requirements listed in the table above have been completed or addressed appropriately and that SILQ approves the transition of the <Product Name> for use in a clinical investigational trial with human patients.

| Clinical Trial Product Release Approval |  |  |  |
| --- | --- | --- | --- |
| Name | Title/Area Represented | Signature | Date |
|  | Head: R&D / Engineering |  |  |
|  | Head: Clinical / Medical |  |  |
|  | Head: Quality |  |  |
|  | Head: Regulatory |  |  |
|  | Head: Manufacturing |  |  |
|  | Executive Management |  |  |