Preliminary Hazard Analysis

<Insert Device Name or Project Designation>

# Purpose

## The purpose of this Preliminary Hazard Analysis (PHA) is to define hazards and risks that may be encountered by and through the use of the <Device or Project Name>.  Specific hazards related to each critical assembly being developed as part of the <Device or Project Name> will be documented in this hazard analysis.  This document will:

### Identify possible risks and hazards that could occur to a patient, user, or operator during normal operation or if a component or sub-system of the system fails;

### Estimate the maximum possible severity of the hazard;

### Estimate the probability of occurrence of the hazard;

### Determine the risk based upon the estimated severity and probability of occurrence;

### Determine the extent of mitigation necessary to reduce the risk as low as possible;

### Identify mitigating measures to reduce the risk;

### Estimate the resulting risk, and severity of the controlled or mitigated hazard;

### Trace the required mitigations to requirements specifications and verification and validation documentation.

### <Adjust the above verbiage once the PHA becomes the product Master Hazard Analysis>

# Scope

## <Indicate the overall scope of the project and the scope of risk analysis activities based upon the project scope.  (This may be taken directly from the scope in the Risk Management Plan.)>

# Documents

## Reference Documents

### <Insert reference documents; however do not insert general references to regulations.  Reference subparts if possible>

## Attachments / Associated Forms

### <Insert titles of attachments and forms associated with this document>

# Definitions

## Abbreviations / Acronyms

### <Insert any abbreviations or acronyms that appear throughout the document>

## General Definitions

### Essential Performance:  A term used in ISO standards to indicate performance necessary to achieve freedom from unacceptable risk.

### Risk:  The probable rate of occurrence of a hazard causing harm and the degree of severity of the harm.

### <Insert any terms in document that require definition or clarification for the reader>

## Definitions of Categories in Hazard Analysis Table

### Hazard Type:  Hazard sub-category that falls under general overall hazard domains listed in ISO 14971.

### Hazardous Situation:  A potential source of harm.  Identification of potential hazards should be conducted in the context of what is observable with respect to the patient, user or environment.

### Potential Harm:  Potential clinical effect as a result of the hazard.

### Potential Sequence of Events:  Potential causes or sequence of events of the hazard.

### Pre Severity:  A numeric ranking of the severity of the hazard event before applying mitigations.

### Pre Likelihood:  A numeric ranking of the probability of the cause of the hazard occurring before applying mitigations.

### Risk Category:  Classification of hazard based on severity and likelihood that drives required mitigation controls.

### Mitigation Type:  The general type of mitigation control to be put in place.  These include:  Inherent Safety by Design, Protective Measures, or Information for Safety controls.

### Mitigation Controls:  The mitigation consists of the risk control measures that have been identified to reduce the risk associated with the specified hazard.

### Mitigation Reference:  The mitigation reference identifies the location of all applicable references that verify the applicable risk control measures for each hazard.

### Verification:  The verification identifies the location of the objective evidence of the risk control measure’s effectiveness.

### Additional hazards:  Identifies if the mitigation control is the cause for additional hazards.

### Post Severity:  A numeric ranking of the severity of the hazard event after applying mitigations. (Note: Risk mitigations can never reduce the severity of a risk, only the likelihood of occurrence.  Severity is based directly on the endpoint of patient harm and cannot change unless the hazard itself changes.)

### Post Likelihood:  A numeric ranking of the probability of the cause of the hazard event occurring after applying mitigations.

### Post Risk Category:  Classification of hazard based on severity and likelihood after mitigation controls have been applied.

# Responsibilities

## <List parties responsible for the preliminary hazard analysis activities for the device or project>

## <List any limitations on the responsibility of risk management activities>

# Product Overview

## <Briefly describe the intended use, general function, and principal of operation of the product.  (This may be taken directly from the Risk Management Plan, Design Project Plan, or User Requirements Document.)>

## <Briefly describe the expected product users.  (This may be a summary of the User Characteristics in the User Requirements Document.)>

# Qualitative and Quantitative Characteristics

## In Table 1, the topics from Annex A of ISO/TR 24971:2020 are used to identify the system characteristics that could have an impact on product and patient safety.  <See QM.SLQ013 Risk Analysis Appendix 1 for guidance.>

Table 1:  Device Characteristics

- What is the intended use and how is the medical device to be used?

Indications for use: Target users: Environment:

- Is the medical device intended to be implanted?

- Is the medical device intended to be in contact with the patient or other persons?

- What materials or components are utilized in the medical device or are used with, or are in contact with, the medical device?

- Is energy delivered to or extracted from the patient?

- Are substances delivered to or extracted from the patient?

- Are biological materials processed by the medical device for subsequent re-use, transfusion or transplantation?

- Is the medical device supplied sterile or intended to be sterilized by the user, or are other microbiological controls applicable?

- Is the medical device intended to be routinely cleaned and disinfected by the user?

- Does the medical device modify the patient environment?

- Are measurements taken?

- Is the medical device interpretative?

- Is the medical device intended for use in conjunction with other medical devices, medicines or other medical technologies?

- Are there unwanted outputs of energy or substances?

- Is the medical device susceptible to environmental influences?

- Does the medical device influence the environment?

- Does the medical device require consumables or accessories?

- Is maintenance or calibration necessary?

- Does the medical device contain software?

- Does the medical device allow access to information?

- Does the medical device store data critical to patient care?

- Does the medical device have a restricted shelf-life?

- Are there any delayed or long-term use effects?

- To what mechanical forces will the medical device be subjected?

- What determines the lifetime of the medical device?

- Is the medical device intended for single use?

- Is safe decommissioning or disposal of the medical device necessary?

- Does installation or use of the medical device require special training or special skills?

- How will information for safety be provided?

- Are new manufacturing processes established or introduced?

- Can the user interface design features contribute to user error?

- Is the medical device used in an environment where distractions can cause user error?

- Does the medical device have connecting parts or accessories?

- Does the medical device have a control interface?

- Does the medical device display information?

- Is the medical device controlled by a menu?

- Is the successful use of the medical device dependent on a user’s knowledge, skills and abilities?

- Will the medical device be used by persons with special needs?

- Can the user interface be used to initiate unauthorized actions?

- Does the medical device use an alarm system?

- In what way(s) might the medical device be misused (deliberately or not)?

- Is the medical device intended to be mobile or portable?

- Does the use of the medical device depend on essential performance?

- Does the medical device have a degree of autonomy?

- Does the medical device produce an output that is used as an input determining clinical action?

# Hazard Identification

## This section identifies a list of possible hazards and contributing factors that should be considered for medical devices.  <Hazards that are sufficiently mitigated by standard compliance need not be included in the PHA.>

## <Potential hazards that can be included in or excluded from the hazard analysis due to the design or function of the device and the scope of the overall project are delineated in the following potentially incomplete list:>

| Hazard Domains and Sub-Categories | Applicable |
| --- | --- |
| Acoustic energy | <Yes/No> |
| - infrasound | <Yes/No> |
| - sound pressure | <Yes/No> |
| - ultrasonic | <Yes/No> |
| Electric energy | <Yes/No> |
| - Electric fields | <Yes/No> |
| - Leakage current | <Yes/No> |
| - Magnetic fields | <Yes/No> |
| - Static discharge | <Yes/No> |
| - Voltage | <Yes/No> |
| Mechanical (Kinetic) Energy | <Yes/No> |
| - Falling objects | <Yes/No> |
| - High pressure fluid injection | <Yes/No> |
| - Moving parts | <Yes/No> |
| - Vibrating parts | <Yes/No> |
| Potential (Stored) Energy | <Yes/No> |
| - Bending | <Yes/No> |
| - Compression | <Yes/No> |
| - Cutting, shearing | <Yes/No> |
| - Gravitational pull | <Yes/No> |
| - Suspended mass | <Yes/No> |
| - Tension | <Yes/No> |
| - Torsion | <Yes/No> |
| Radiation energy | <Yes/No> |
| - Ionizing radiation | <Yes/No> |
| - Non-ionizing radiation | <Yes/No> |
| Thermal Energy | <Yes/No> |
| Biological Agents | <Yes/No> |
| - Bacteria | <Yes/No> |
| - Viruses | <Yes/No> |
| - Other agents | <Yes/No> |
| Chemical Agents | <Yes/No> |
| - Carcinogenic, mutagenic, reproductive | <Yes/No> |
| - Caustic, corrosive | <Yes/No> |
| - Flammable, combustible, explosive | <Yes/No> |
| - Fumes, vapors | <Yes/No> |
| - Osmotic | <Yes/No> |
| - Particles | <Yes/No> |
| - Pyrogenic | <Yes/No> |
| - Solvents | <Yes/No> |
| - Toxic | <Yes/No> |
| Immunological Agents | <Yes/No> |
| - Allergenic | <Yes/No> |
| - Immunosuppressive | <Yes/No> |
| - Irritants | <Yes/No> |
| - Sensitizing | <Yes/No> |
| Data | <Yes/No> |
| - Access | <Yes/No> |
| - Availability | <Yes/No> |
| - Confidentiality | <Yes/No> |
| - Transfer | <Yes/No> |
| - Integrity | <Yes/No> |
| Delivery | <Yes/No> |
| - Quantity | <Yes/No> |
| - Rate | <Yes/No> |
| Diagnostic Information | <Yes/No> |
| - Examination result | <Yes/No> |
| - Image artifacts | <Yes/No> |
| - Image orientation | <Yes/No> |
| - Image resolution | <Yes/No> |
| - Patient identity/information | <Yes/No> |
| Functionality | <Yes/No> |
| - Alarm | <Yes/No> |
| - Critical performance | <Yes/No> |
| - Measurement | <Yes/No> |

# Hazard Analysis Method

## This hazard analysis uses a formalized approach to identify and evaluate hazards, and to determine the necessary risk mitigations for this product, as described in the Risk Analysis procedure (QM.SLQ013).

## Potential hazards that could result in harm or discomfort to the patient, user, or environment were identified, as were the potential harm (clinical effect) resulting from each, as well as the potential sequence of events causing that harm.

## Once the potential hazards, effects, and causes were identified, each was rated for its Severity, and for its Likelihood before implementation of mitigations.  (See section 10.1.)

## Based on these ratings, a Risk Category was determined for each hazard— again, prior to implementing mitigations.  (See section 10.2.)

## Mitigations were then identified to reduce each hazard’s risk, chosen from the classes described in Risk Management SOP (QM.SLQ012).

## Once mitigations were implemented, the Risk Category was re-evaluated.   If a mitigation introduced a new hazard or affected an existing hazard, additional mitigations were put in place or other actions taken in response, where necessary.

## Verification activities or labeling controls were referenced to provide evidence that each implemented mitigation was effective.

## The identified hazards, harms, causes, severity/likelihood ratings, risk categories, and their subsequent mitigations and verifications have all been documented in the corresponding hazard analysis table <XX>. <See hazard analysis table template>

# Risk Assessment Method

## A rating scheme was employed to estimate the Severity and Likelihood of hazards, as laid out by the Risk Management Plan.

### When sufficient quantitative data was not available, this analysis used a qualitative approach to risk estimation.

### Severity is a numeric ranking of the seriousness of the hazard, assigned using the definitions in Table 2.  The severity ratings apply only to the hazards and are not modified by the likelihood or by any mitigation efforts.

### Table 2:  Severity Rating Definitions

### <Copy Severity Rating Definitions from Risk Management Plan.>

### Likelihood is a numeric ranking of the probability of the cause for the hazard occurring, assigned using the definitions in Table 3.  The likelihood was evaluated both before and after implementing mitigations.

### Table 3:  Likelihood Rating Definitions

### <Copy Likelihood Rating Definitions from Risk Management Plan.>

## Risk Category

### The Severity and Likelihood of each hazard were used to determine its Risk Category, also as defined in the Risk Management Plan, as follows:

### Table 4:  Risk Category Matrix

### <Copy Risk Category Matrix from Risk Management Plan.>

### The unmitigated and mitigated scenarios were both classified using this scheme, so as to better highlight the impact of the mitigations.

# Hazard Analysis Results

## <Summarize the results of the hazard analysis.  Include discussions of the effectiveness of the mitigations to reduce the risk documented in the Hazard Analysis Table, and of the remaining  residual risks that are still considered major or moderate.  Determine whether risk has been reduced as far as possible and any relevant information that can be used in the benefit-risk analysis.>