## Cover Page
<Process or Design> FMEA Worksheet - <Device or Project Name>
<Document Number>
<Revision>
Product or Project Information
Project Designation:
Product Name:
FMEA Type: | <Design, Process, or describe other type>
FMEA Scope: | <Describe the specific product assembly or manufacturing process for the scope of this FMEA>
Author:
Author Department:

## FMEA Summary
<Process or Design> FMEA Worksheet - <Device or Project Name>
<Document Number>
<Revision>
Summary of FMEA Results
Summarize the results of the FMEA
Evaluation of Residual Risks |  | List individual risks that require additional evaluation due to remaining in the 'Major' risk category post mitigation or if the risk did not have any mitigation implemented
Component / Step ID - Failure Mode | Risk Category - Discussion
Identify the component or process step ID. List the failure mode that requires additional evaluation or discussion. | List the post-mitigation risk category. Provide additional discussion on the risk.
Add additional lines as necessary for risks that require additional evaluation

## DFMEA Worksheet
|  |  |  | Document Title: | Design FMEA - <product assembly>
Document Number:
Revision:
Module | Component | Function | ID | Potential Failure Mode | Hazardous Situation (Local Effect) | Potential Harm (Clinical Effect) | Pre-Mitigation | Potential Cause(s) | Pre-Mitigation | Risk Category | Risk Controls |  | Verification | Additional Hazards? | Post-Mitigation - Residual Risk
[7 empty] | Severity (S) |  | Likelihood (L) |  | Mitigation Type | Specific Mitigation Controls |  |  | S | L | RC

## PFMEA Worksheet <option 1>
|  |  |  | Document Title: | Process FMEA - <manufacturing process>
Document Number:
Revision:
Sub-Process | Step | Purpose | ID | Potential Failure Mode | Hazardous Situation (Local Effect) | Potential Harm (Clinical Effect) | Pre-Mitigation | Potential Cause(s) | Pre-Mitigation | Risk Category | Risk Controls |  | Verification | Additional Hazards? | Post-Mitigation - Residual Risk
[7 empty] | Severity (S) |  | Likelihood (L) |  | Mitigation Type | Specific Mitigation Controls |  |  | S | L | RC

## PFMEA Worksheet <option 2>
|  |  |  | Document Title: | Process FMEA - <manufacturing process>
Document Number:
Revision:
Sub-Process | Step | Purpose | ID | Potential Failure Mode | Hazardous Situation (Local Effect) | Potential Harm (Clinical Effect) | Pre-Mitigation | Potential Cause(s) | Pre-Mitigation | Detection Control Method | Pre-Mitigation | Risk Category | Risk Controls |  | Verification | Additional Hazards? | Post-Mitigation - Residual Risk
[7 empty] | Severity (S) |  | Likelihood (L) |  | Detection (D) |  | Mitigation Type | Specific Mitigation Controls |  |  | S | L | D | RC
`

## Ratings
SEVERITY |  |  | RISK CATEGORY BASED ON SEVERITY AND LIKELIHOOD
Scale | Definition | Effects | Likelihood | Severity
1 | Negligible/ Cosmetic | No / virtually no injury to patient or user; no / virtually no negative effect on the environment. No impact on product performance or user confidence in the product/company; user may or may not even notice the failure. |  | Catastrophic (5) | Critical (4) | Moderate (3) | Minor (2) | Negligible (1)
2 | Minor | Minor injury to the patient or user; minor negative effect on the environment. Slight decline of product performance or user confidence in the product/company (e.g. customer slightly annoyed, inconvenienced). For example, this includes prolonging or delay | Very High (5) | Major | Major | Major | Major | Moderate
3 | Moderate | Moderate injury to the patient or user; moderate negative effect on the environment. Decline of product performance or user confidence in the product/company (e.g. customer is very annoyed or dissatisfied). | High (4) | Major | Major | Major | Moderate | Moderate
4 | Critical | Serious injury (reversible) to the patient or user; severe negative effect on the environment. For example, this includes the need for a more invasive procedure such as surgery or increases case complication to fully treat the injury. NOTE: Any labeling issues that could lead to a field action must be ranked at a minimum of 4. | Moderate (3) | Major | Major | Moderate | Moderate | Minor
5 | Catastrophic | Serious injury (irreversible) or death of the patient or user; very severe negative effect on the environment. | Low (2) | Major | Moderate | Moderate | Minor | Minor
|  |  | Remote (1) | Moderate | Moderate | Minor | Minor | Minor
LIKELIHOOD
Scale | Qualitative Term | Effects
1 | Improbable | Probability of occurrence is so remote that event is not expected to occur during the lifetime of the medical device. Relatively low failure mode rate on previous products having similar component(s) or processed under comparable conditions.
2 | Remote | Unlikely probability of occurrence during a procedure. Low to moderate failure mode rate on previous products having similar component(s) or processed under comparable conditions.
3 | Occasional | Occasional probability of occurrence during a procedure. Moderate failure mode rate on previous products having similar component(s) or processed under comparable condition.
4 | Probable | Moderate probability of occurrence during a procedure. Moderate to high failure mode rate on previous products having similar component(s) or processed under comparable condition.
5 | Frequent | High probability of occurrence during a procedure. Very high failure mode rate. Failure mode is almost certain to occur.
DETECTION |  |  | RISK CATEGORY BASED ON SEVERITY, LIKELIHOOD, and DETECTION
Scale | Qualitative Term | Effects | Take all three rating values and multiple for a total value. Identify the risk category based on the product as follows:
1 | Likely | Very high chance to almost certain current controls will detect the cause and subsequent failure mode. | < 27 | Minor
2 | Probable | High chance current controls will detect the cause and subsequent failure mode. | Between 27 - 64 | Moderate
3 | Possible | Moderate chance current controls will detect the cause and subsequent failure mode. | > 64 | Major
4 | Unlikely | Low chance current controls will detect the cause and subsequent failure mode.
5 | Improbable | Current controls are very unlikely or unable to detect potential cause and subsequent failure mode or no controls are identified.