# Document Change Order (DCO)

| DCO #: | 013 | Change Priority: |  | High Medium Low |  |
| --- | --- | --- | --- | --- | --- |
| DCO Type: | Permanent DCO Permanent DCO - Administrative Temporary Deviation Order – Duration: |  |  |  |  |
| Document Category: | Policy Standard Operating Procedure (SOP) Design Document Work Instruction (WI) Technical Spec Labeling |  |  |  |  |
| Req. Effective Date: | R + 0 |  | Originator: |  | Bryan Wong |

| Document Title | Document / Part Number | Current Revision | Description of / Reason for Change |
| --- | --- | --- | --- |
| Internal Quality Audit Schedule Form | FM1-QM.SLQ017 | A | Description of change: 1) Update table title from “ISO 13485 Section” to “Standard/Regulation” 2) Add “ISO 13485 Section” to each title 3) Add “Medical Device Reporting (FDA) 21 CFR Part 803” and “Reports of Corrections and Removals (FDA) 21 CRF Part 806” See redlines for details of changes. |
|  |  |  | Reason for change: 1) Make form flexible and able to apply to various standards/regulations 2) To clarify which standard the section applies 3) Added FDA regulations inadvertently left off of prior schedule; update for accuracy |
| Identification & Traceability SOP | QM.SLQ019 | A | Description of change: 1) Add reference to QM.SLQ045 Receiving SOP. 2) Add “CMO” to definitions section 3) Update Product definition 4) Delete Serial Number from definitions. 5) Update procedure throughout See redlines for details of changes. |
|  |  |  | Reason for change: 1) Reference new procedure 2) Addition of relevant definition. 3) Updated for clarity and accuracy 4) Not applicable; using lot numbers only 5) Updating procedure to be accurate and consistent with current practices. |
| Purchasing Controls SOP | QM.SLQ020 | A | Description of change: 1) Add “consigned product” to section 2.1 2) Add “COA” and “COC” acronyms to section 4 3) Update section 5.4 to replace “Manufacturing management” with “Quality Assurance” and add closing purchase orders to QA’s responsibilities. 4) Change “vendor” to “supplier” in section 7.4. 5) Update section 7.6 to state that logs are stored on secure network server. 6) Addition of section 8 ;to add requirements for purchase order closure See redlines for details of changes. |
|  |  |  | Reason for change: 1) To mention pertinent product that was missing from prior revision 2) Adding acronyms that were inadvertently left out of prior revision; updating for accuracy. 3) Updating to reflect current practices. 4) Updating to preferred terminology in industry 5) FileHold document software maintains archives of documents. Manual archiving is redundant. 6) Added section to define the process of closing purchase orders as it was inadvertently left out of prior revision. |
| Purchase Order Form | FM1-QM.SLQ020 | A | Description of change: Update Notes field with: “No changes will be accepted without such advance notice and written approval by Silq Technologies Corporation”; add requirement to reference lot number(s) and COC/COA. See redlines for details of changes. |
|  |  |  | Reason for change: Addition of pertinent regulatory requirements |
| Device Master Record SOP | QM.SLQ048 | New | Description of change: Initial release |
|  |  |  | Reason for change: Initial release |

Additional Risk Assessment required?   Yes    No (Complete below section)

| Applicable Doc / Part No. | Risk Assessment activities (include doc numbers when applicable) |
| --- | --- |
| N/A | Risk assessment is not required for initial release and updates to QMS procedures and forms. |

Verification or Validation required?   Yes    No (Complete below section)

| Applicable Doc / Part No. | Corresponding V&V activities (include protocol numbers when applicable) |
| --- | --- |
| N/A | V&V is not required for initial release and updates to QMS procedures and forms. |

Training required?   Yes    No (Complete below section)

| Applicable Doc No. | Notification Type | Effectiveness Check? |
| --- | --- | --- |
| QM.SLQ019 | Read and Acknowledge only Interactive Training | Yes No |
| QM.SLQ020 | Read and Acknowledge only Interactive Training | Yes No |
| QM.SLQ048 | Read and Acknowledge only Interactive Training | Yes No |

Material disposition required?   Yes    No (Complete below section)

| Applicable Part No. | Disposition Requirements (Scrap, Use-as-Is, Rework) |  |  |  | Additional Info |
| --- | --- | --- | --- | --- | --- |
| Material disposition is not required for initial release updates to QMS procedures and forms. | Stock Material: N/A | WIP: N/A | Finished Good: N/A | Field: N/A | N/A |

Potential Regulatory Impact?   Yes    No (Complete below section)

| Regulatory Assessment: | There is no regulatory impact for initial release and updates to QMS procedures and forms. |
| --- | --- |

| Approvals: |  |  |
| --- | --- | --- |
| Printed Name | Department | Signature/Date |
| Bryan Wong | QA/Originator | View sign-off sheet |
| Verne Sharma | Exec. Management | View sign-off sheet |
| Brian McVerry | Manufacturing/ R&D/Engineering | View sign-off sheet |
| Sigi Caron | RA | View sign-off sheet |