# Document Change Order (DCO)

| DCO #: | 033 | Change Priority: |  | High Medium Low |  |
| --- | --- | --- | --- | --- | --- |
| DCO Type: | Permanent DCO Permanent DCO - Administrative Temporary Deviation Order – Duration: |  |  |  |  |
| Document Category: | Policy Standard Operating Procedure (SOP) Design Document Work Instruction (WI) Technical Spec Labeling |  |  |  |  |
| Req. Effective Date: | R + 0 |  | Originator: |  | Bryan Wong |

| Document Title | Document / Part Number | Current Revision | Description of / Reason for Change |
| --- | --- | --- | --- |
| Receiving SOP | QM.SLQ045 | New | Description of change: Initial release |
|  |  |  | Reason for change: Initial release |
| Quarantine Label Template | TMP1-QM.SLQ045 | New | Description of change: Initial release |
|  |  |  | Reason for change: Initial release |
| Receiving Inspection SOP | QM.SLQ039 | A | Description of change: 1) Move receiving steps to separate procedure Receiving SOP QM.SLQ045 2) Reference Receiving SOP QM.SLQ045 3) Update product labeling/disposition steps |
|  |  |  | Reason for change: 1) Easier to manage and maintain separate SOPs for the two functions of receiving and receiving inspection 2) Reference associated SOP’s from a process flow standpoint. 3) After receiving inspection has been completed, the product labeling only requires update to the disposition/acceptance status of the product. |
| Basic Receiving Inspection Form | FM1-QM.SLQ039 | A | Description of change: Minor updates to clean up form. See redlines for details of changes. |
|  |  |  | Reason for change: Minor updates to correct grammar and headers of various fields. |

Additional Risk Assessment required?   Yes    No (Complete below section)

| Applicable Doc / Part No. | Risk Assessment activities (include doc numbers when applicable) |
| --- | --- |
| N/A | Risk assessment is not required for initial release and updates to QMS SOP’s and form. |

Verification or Validation required?   Yes    No (Complete below section)

| Applicable Doc / Part No. | Corresponding V&V activities (include protocol numbers when applicable) |
| --- | --- |
| N/A | V&V is not required for updates initial release and updates to QMS SOP’s and form. |

Training required?   Yes    No (Complete below section)

| Applicable Doc No. | Notification Type | Effectiveness Check? |
| --- | --- | --- |
| QM.SLQ039 | Read and Acknowledge only Interactive Training | Yes No |
| QM.SLQ045 | Read and Acknowledge only Interactive Training | Yes No |

Material disposition required?   Yes    No (Complete below section)

| Applicable Part No. | Disposition Requirements (Scrap, Use-as-Is, Rework) |  |  |  | Additional Info |
| --- | --- | --- | --- | --- | --- |
| Material disposition is not required for initial release and updates to QMS SOP’s and form. | Stock Material: N/A | WIP: N/A | Finished Good: N/A | Field: N/A | N/A |

Potential Regulatory Impact?   Yes    No (Complete below section)

| Regulatory Assessment: | There is no regulatory impact for initial release and updates to QMS SOP’s and form. |
| --- | --- |

| Approvals: |  |  |
| --- | --- | --- |
| Printed Name | Department | Signature/Date |
| Bryan Wong | QA/Originator | View sign-off sheet |
| Verne Sharma | Executive Management | View sign-off sheet |
| Brian McVerry | Manufacturing/ R&D/Engineering | View sign-off sheet |
| Sigi Caron | RA | View sign-off sheet |