# Document Change Order (DCO)

| DCO #: | 070 | Change Priority: |  | High Medium Low |  |
| --- | --- | --- | --- | --- | --- |
| DCO Type: | Permanent DCO Permanent DCO - Administrative Temporary Deviation Order – Duration: |  |  |  |  |
| Document Category: | Policy Standard Operating Procedure (SOP) Design Document Work Instruction (WI) Technical Spec Labeling |  |  |  |  |
| Req. Effective Date: | R + 0 |  | Originator: |  | Bryan Wong |

| Document Title | Document / Part Number | Current Revision | Description of / Reason for Change |
| --- | --- | --- | --- |
| Design Project Planning SOP | QM.SLQ005 | A | Description of change: Addition of section 5.3 within Responsibilities section. See redlines for details of changes. |
|  |  |  | Reason for change: In response to observation in the last internal audit, add clarity of responsibilities of the project manager. |
| Purchasing Controls SOP | QM.SLQ020 | B | Description of change: 1) Update section 7.4.1 2)Update section 7.10.2 to remove requirement for QA management approval. |
|  |  |  | Reason for change: 1) Clarify what information purchase orders should contain. 2)Update for flexibility; do not want to require only QA management to approve calibration POs. |
| Quality Manual | QM.SLQ027 | B | Description of change: Update wording of Quality Policy in section 7.3 See redlines for details of changes. |
|  |  |  | Reason for change: To keep in step with update to Quality Policy; so reflects current Quality Policy (action item from previous management review). |
| Quality Policy | QM.SLQ035 | A | Description of change: 1)Update the scope to add text “as a medical device manufacturer” 2) Update Quality Policy. See redlines for details of changes. |
|  |  |  | Reason for change: To specify organization’s policy is for medical devices; action item from previous management review |
| Nonconforming Materials SOP | QM.SLQ040 | A | Description of change: Delete erroneous sentence from section 7.5 |
|  |  |  | Reason for change: Sentence does not pertain to this procedure; removal of sentence inadvertently left in procedure upon initial release. |

Additional Risk Assessment required?   Yes    No (Complete below section)

| Applicable Doc / Part No. | Risk Assessment activities (include doc numbers when applicable) |
| --- | --- |
| N/A | Risk assessment is not required for update to QMS SOPs, Quality Manual or Quality Policy. |

Verification or Validation required?   Yes    No (Complete below section)

| Applicable Doc / Part No. | Corresponding V&V activities (include protocol numbers when applicable) |
| --- | --- |
| N/A | V&V is not required for update to QMS SOPs, Quality Manual or Quality Policy. |

Training required?   Yes    No (Complete below section)

| Applicable Doc No. | Notification Type | Effectiveness Check? |
| --- | --- | --- |
| QM.SLQ005 | Read and Acknowledge only Interactive Training | Yes No |
| QM.SLQ020 | Read and Acknowledge only Interactive Training | Yes No |
| QM.SLQ027 | Read and Acknowledge only Interactive Training | Yes No |
| QM.SLQ035 | Read and Acknowledge only Interactive Training | Yes No |
| QM.SLQ040 | Read and Acknowledge only Interactive Training | Yes No |

Material disposition required?   Yes    No (Complete below section)

| Applicable Part No. | Disposition Requirements (Scrap, Use-as-Is, Rework) |  |  |  | Additional Info |
| --- | --- | --- | --- | --- | --- |
| Material disposition is not required for update to QMS SOPs, Quality Manual or Quality Policy. | Stock Material: N/A | WIP: N/A | Finished Good: N/A | Field: N/A | N/A |

Potential Regulatory Impact?   Yes    No (Complete below section)

| Regulatory Assessment: | There is no regulatory impact for update to QMS SOPs, Quality Manual or Quality Policy. |
| --- | --- |

| Approvals: |  |  |
| --- | --- | --- |
| Printed Name | Department | Signature/Date |
| Bryan Wong | QA/Originator | View sign-off sheet |
| Verne Sharma | Executive Management | View sign-off sheet |
| Brian McVerry | Manufacturing/ R&D/Engineering | View sign-off sheet |
| Sigi Caron | RA | View sign-off sheet |