# Document Change Order (DCO)

| DCO #: | 089 | Change Priority: |  | High Medium Low |  |
| --- | --- | --- | --- | --- | --- |
| DCO Type: | Permanent DCO Permanent DCO - Administrative Temporary Deviation Order – Duration: |  |  |  |  |
| Document Category: | Policy Standard Operating Procedure (SOP) Design Document Work Instruction (WI) Technical Spec Labeling |  |  |  |  |
| Req. Effective Date: | 17 Mar 2026 |  | Originator: |  | Ethan Rao |

| Document Title | Document / Part Number | Current Revision | Description of / Reason for Change |
| --- | --- | --- | --- |
| Design Control Program SOP | QM.SLQ004 | A | Description of change: A) Defines mandatory evaluation of all supplier-initiated modifications, regardless of perceived significance. |
|  |  |  | Reason for change: - Procedural gap of a robust supplier change‑notification and escalation process. Silq did not have defined mechanisms ensuring that all supplier modifications—regardless of perceived significance—triggered mandatory design review, risk assessment, regulatory evaluation and change order implementation |
| Design Project Scope Form | FM1-QM.SLQ004 DC.SLQ001 | N/A | New Document |
| Design Project Plan, Design Assessment, Valve Component Modification, ClearTract Catheter | DC.SLQ001 | N/A | New Document |
| Risk Management Review Confirmation Memo – DC.SLQ001 |  | N/A | New Document |

Additional Risk Assessment required?   Yes    No (Complete below section)

| Applicable Doc / Part No. | Risk Assessment activities (include doc numbers when applicable) |
| --- | --- |
| N/A | Risk assessment is not required for document updates |

Verification or Validation required?   Yes    No (Complete below section)

| Applicable Doc / Part No. | Corresponding V&V activities (include protocol numbers when applicable) |
| --- | --- |
| N/A | V&V is not required for document updates |

Training required?   Yes    No (Complete below section)

| Applicable Doc No. | Notification Type | Effectiveness Check? |
| --- | --- | --- |
| N/A | Read and Acknowledge only Interactive Training | Yes No |

Material disposition required?   Yes    No (Complete below section)

| Applicable Part No. | Disposition Requirements (Scrap, Use-as-Is, Rework) |  |  |  | Additional Info |
| --- | --- | --- | --- | --- | --- |
| Material disposition not appicable | Stock Material: N/A | WIP: N/A | Finished Good: N/A | Field: N/A | N/A |

Potential Regulatory Impact?   Yes    No (Complete below section)

| Regulatory Assessment: | There is no regulatory impact for updates to organization chart or authorized approvers form. |
| --- | --- |

| Approvals: |  |  |
| --- | --- | --- |
| Printed Name | Department | Signature/Date |
| Ethan Rao | QA/RA/Originator | View sign-off sheet |
| Brian McVerry | Manufacturing/ R&D/Engineering | View sign-off sheet |