# Purpose

## The purpose of this document is to indicate the requirements of the risk management plan that is associated with the development of the SILQ ClearTract Foley Catheter.

### Note: The product name SILQ ClearTract Catheter and Hydrophilix Foley Catheter is used interchangeably. The company name Hydrophilix and SILQ are used interchangeably as the name recently was changed from Hydrophilix to SILQ.

# Scope

## The document applies for the design projects associated with the product introduction of the SILQ ClearTract Foley Catheter family of products.

## This document will identify the activities planned for risk management.

# References

## ISO 14971:2019 – Medical devices – Application of risk management to medical devices

## Project#00017 – Hydrophilix Foley Catheter product introduction (US)

## Project#00047 – SILQ ClearTract Foley Catheter Product Line & Shelf Life Extension (US)

## Project#00049 – SILQ ClearTract Foley Catheter Product Line Extension (US)

## Project#00053 – SILQ ClearTract Foley Catheter Suprapubic indications for use (US)

## QP-002 – Document Control

## QP-004 – Risk Management

## QP-007 – Design Control

## QP-011 – Post Market Surveillance

# Responsibilities & Authorities

## The risk management team will include members of Pathway. Team members will include individuals representing Research & Development (R&D), Manufacturing, Marketing, Regulatory Affairs (RA), and Quality Assurance (QA).

## Individuals that participate in risk management activities will have knowledge of and experience with the device (or similar device) and how it is manufactured.

## The risk management team will be required to complete all activities indicated in this document. Team members from Pathway will be required to review all content of risk management deliverables and agree on its conclusions with documented approval.

# Product Description

## The SILQ ClearTract Foley Catheter is intended for use to drain the urinary tract.

# Product Life-Cycle Phases

## Design

### In the appropriate phase of the design control process, per QP-007, a Hazard Analysis (HA) and Design Failure Mode Effects Analysis (DFMEA) will be developed per, QP-004, as input to the design of the device.

### Criteria of risk acceptability is identified in QP-004.

### If additional risk(s) are identified during the progression through the design control phases, especially in verification and validations, risk management deliverables will be reviewed and updates appropriately.

## Process Validation

### In the “Transfer to Manufacturing” phase of the design control process per QP-007, a Process Failure Mode Effects Analysis (PFMEA) will be developed as a deliverable process validation. Criteria of risk acceptability is identified in QP-004.

## Production & Post-Production

### Information collected from production and post-production activities will be evaluated for risk as part of the post-market surveillance process per QP-011.  Risk management report will be review and newly identified risk or changes to existing risk will be incorporated.

### Revised information to the risk management reports will be reviewed with R&D, RA, and QA to determine if action shall be taken to the product design to mitigate identified risk.  Action shall be incorporated in a change control project per QP-007.

### Note: SILQ is responsible for post-market surveillance and providing feedback appropriate for the risk management (PFMEA) activities performed at Pathway. Pathway is responsible for production feedback into risk management.

# Verification Activities

## Activities associated for risk controls (initial & mitigation) will be documented in the risk management reports.

# Risk Management File

## The risk management file consists of this plan and the risk management report (i.e., Hazard Analysis, DFMEA, & PFMEA). The risk management plan will be maintained as a controlled document per QP-002 and associated in the product’s Design History File (DHF).

- Change History

| ## Revision | ## Change Description |
| --- | --- |
| ## A | ## Initial release |
| ## B | ## Update name change “Hydrophilix” to “SILQ”. Add ref to Project#00047 |
| ## C | ## Add references to Project#00049 |
| ## D | ## Add references to Project#00053, add §6.3.3 |